{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Лист1","Лист2"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Лист1","index":0,"n_rows":291,"n_cols":9,"rows_kept":291,"cut":false,"hidden":false,"merged":[]}
["№ участка","Всего КВт ","Всего день КВт","Всего ночь КВт","За месяц день КВт","За месяц ночь КВт","За месяц день РУБ","За месяц ночь РУБ","За месяц РУБ"]
["5",3.758,3.7130000000000001,0,0,0,0,0,0]
[6,13890.898000000001,8648.4030000000002,5242.4949999999999,274,116,1224.78,194.88,1419.66]
["7",1477.8890000000001,1132.8150000000001,345.024,0,0,0,0,0]
["8/9",256.31900000000002,196.50300000000001,59.816000000000003,2,0,8.94,0,8.94]
["11",4043.6510000000003,3116.7220000000002,926.92899999999997,21,6,93.87,10.08,103.95]
[13,2907.9929999999999,1950.5330000000001,957.399,9,4,40.229999999999997,6.72,46.95]
["17",1138.69,904.56600000000003,234.124,0,0,0,0,0]
[18,14.559000000000001,12.419,2.14,0,0,0,0,0]
["19",12336.331,8122.518,4213.7529999999997,154,77,688.38,129.36000000000001,817.74]
["20/22",102347.84,69728.540999999997,32619.298999999999,1211,474,5413.17,796.32,6209.49]
["23",2.6430000000000002,2.597,4.5999999999999999E-2,0,0,0,0,0]
["24/26",106.282,80.744,25.538,0,0,0,0,0]
["27",2045.3310000000001,1370.8700000000001,674.46100000000001,0,0,0,0,0]
["30/31",2369.6750000000002,1825.068,544.60699999999997,116,24,518.52,40.32,558.84]
[32,1982.6380000000001,1292.6310000000001,690.00700000000006,336,171,1501.92,287.27999999999997,1789.2]
[33,9420.5290000000005,6283.6549999999997,3136.8740000000003,1162,543,5194.1400000000003,912.24,6106.38]
["35",1518.6880000000001,1021.054,497.63400000000001,15,4,67.05,6.72,73.77]
[36,383.221,273.24799999999999,109.914,0,0,0,0,0]
[37,1479.585,949.68399999999997,529.83400000000006,167,98,746.49,164.64,911.13]
["38",41.695,29.087,12.608000000000001,27,13,120.69,21.84,142.53]
["40",10763.853999999999,7056.6869999999999,3707.12,543,163,2427.21,273.83999999999997,2701.05]
["42",2696.5680000000002,1911.558,784.96100000000001,98,28,438.06,47.04,485.1]
["43",0.98599999999999999,0.98599999999999999,0,0,0,0,0,0]
["46",350.82900000000001,279.935,70.838999999999999,0,0,0,0,0]
["48",0.98899999999999999,0.98899999999999999,0,0,0,0,0,0]
["49",293.17900000000003,254.45000000000002,38.728999999999999,0,0,0,0,0]
["51",1745.6469999999999,1198.643,547.00400000000002,121,75,540.87,126,666.87]
[53,1172.6179999999999,832.01099999999997,340.60599999999999,0,0,0,0,0]
[54,1483.6880000000001,1019.87,463.77,18,12,80.459999999999994,20.16,100.62]
[55]
[56,91.191000000000003,69.748999999999995,21.442,68,21,303.95999999999998,35.28,339.24]
["58",455.76400000000001,354.52500000000003,101.239,0,0,0,0,0]
["59",12774.114,9664.1740000000009,3109.8820000000001,818,419,3656.46,703.92,4360.38]
[60,288.55700000000002,237.40700000000001,51.091999999999999,6,1,26.82,1.68,28.5]
["64",0.99299999999999999,0.99299999999999999,0,0,0,0,0,0]
[65,1084.239,820.27300000000002,263.85700000000003,30,3,134.1,5.04,139.13999999999999]
["66",1.5620000000000001,1.5620000000000001,0,0,0,0,0,0]
["67|68",15.861000000000001,14.551,1.31,0,0,0,0,0]
["70",272.03899999999999,232.511,39.527999999999999,11,0,49.17,0,49.17]
[73]
["74"]
["75",1.091,1.091,0,0,0,0,0,0]
["76",5767.2150000000001,4303.7179999999998,1463.4460000000001,614,119,2744.58,199.92,2944.5]
["79",374.90500000000003,258.65600000000001,116.197,0,0,0,0,0]
["80/81",157.93299999999999,106.04900000000001,51.884,0,0,0,0,0]
["83/84",5653.95,3785.377,1868.539,0,0,0,0,0]
["85/86",2277.3519999999999,1780.1480000000001,497.20400000000001,63,29,281.61,48.72,330.33]
["88",744.64,533.70000000000005,210.90299999999999,4,1,17.88,1.68,19.559999999999999]
["91",525.54600000000005,383.52199999999999,141.98599999999999,0,0,0,0,0]
["92",24447.575000000001,16727.406999999999,7720.1100000000006,498,184,2226.06,309.12,2535.1799999999998]
[95,7698.4930000000004,6234.1559999999999,1464.3330000000001,1278,201,5712.66,337.68,6050.34]
[96,1425.6610000000001,1074.02,351.64100000000002,28,18,125.16,30.24,155.4]
["97/98",851.62599999999998,571.61900000000003,279.94600000000003,0,0,0,0,0]
["99",25.641999999999999,25.169,0.41699999999999998,0,0,0,0,0]
[100,2436.6480000000001,1442.3,994.31600000000003,0,0,0,0,0]
["101",3979.5480000000002,2786.672,1192.8140000000001,139,25,621.33000000000004,42,663.33]
["102"]
["103",12.306000000000001,12.26,0,0,0,0,0,0]
["104",1254.934,972.81799999999998,282.06200000000001,0,0,0,0,0]
["105",0.97,0.97,0,0,0,0,0,0]
["106",9.2789999999999999,9.2780000000000005,1E-3,7,0,31.29,0,31.29]
["107",1141.8779999999999,707.11800000000005,434.76,0,0,0,0,0]
[108,31499.805,21067.867000000002,10431.887000000001,1273,739,5690.31,1241.52,6931.83]
["111",666.01200000000006,533.87300000000005,132.13900000000001,0,0,0,0,0]
["112",34.886000000000003,30.533000000000001,4.3529999999999998,4,0,17.88,0,17.88]
["113",5673.8029999999999,3733.252,1940.4380000000001,399,208,1783.53,349.44,2132.9699999999998]
["114/129",43461.773000000001,30981.62,12480.153,1064,430,4756.08,722.4,5478.48]
["115/126/127",10793.936,3856.2550000000001,6937.6810000000005,240,784,1072.8,1317.12,2389.92]
["116",1.1280000000000001,1.085,0,0,0,0,0,0]
["118/119",484.351,376.46,107.89100000000001,0,0,0,0,0]
[120,7057.7550000000001,4586.1930000000002,2471.511,3,4,13.41,6.72,20.13]
["121",1211.174,1007.283,203.89099999999999,79,17,353.13,28.56,381.69]
["122",689.58199999999999,538.48199999999997,151.1,34,1,151.97999999999999,1.68,153.66]
["123",6.1050000000000004,6.1050000000000004,0,0,0,0,0,0]
[124,187.84,166.51300000000001,21.276,0,0,0,0,0]
["125",88.384,56.131,32.253,0,0,0,0,0]
[130,32249.083999999999,21631.212,10617.871000000001,1255,641,5609.85,1076.8800000000001,6686.73]
["131"]
["132",2855.7089999999998,2162.84,692.82100000000003,96,23,429.12,38.64,467.76]
[133,18.901,16.809000000000001,2.0920000000000001,6,0,26.82,0,26.82]
["134",1.069,1.0249999999999999,0,0,0,0,0,0]
["135"]
[136,2197.1709999999998,1661.636,535.47,61,46,272.67,77.28,349.95]
["137",1.1160000000000001,0.997,7.9000000000000001E-2,0,0,0,0,0]
["138",7906.3050000000003,5998.4639999999999,1907.83,457,135,2042.79,226.8,2269.59]
[139,3818.6179999999999,2743.7640000000001,1074.854,0,0,0,0,0]
["140/141",3121.83,2203.1460000000002,918.68399999999997,169,121,755.43,203.28,958.71]
["142",16.593,12.229000000000001,4.3639999999999999,0,0,0,0,0]
["143",3077.4540000000002,2418.7449999999999,658.70900000000006,601,140,2686.47,235.2,2921.67]
[146,1030.4929999999999,726.39099999999996,304.10200000000003,0,0,0,0,0]
["150/151",3409.8330000000001,2591.0129999999999,818.76300000000003,16,9,71.52,15.12,86.64]
["152/153",76080.565000000002,50179.319000000003,25901.245999999999,1591,776,7111.77,1303.68,8415.4500000000007]
[154,5217.1440000000002,2493.308,2723.8360000000002,0,0,0,0,0]
[159,1321.521,1128.491,193.029,1,0,4.47,0,4.47]
["160",75.058000000000007,43.036999999999999,32.021000000000001,0,0,0,0,0]
["161"]
["164",29.939,29.603000000000002,0.28400000000000003,0,0,0,0,0]
["165",2438.1010000000001,1493.9839999999999,944.05600000000004,0,0,0,0,0]
[168,87.024000000000001,72.578000000000003,14.391999999999999,5,2,22.35,3.36,25.71]
["169",145.14099999999999,91.215000000000003,53.926000000000002,25,1,111.75,1.68,113.43]
["170",10277.681,6206.0010000000002,4071.6800000000003,99,75,442.53,126,568.53]
[172,17678.197,10500.028,7178.1639999999998,157,172,701.79,288.95999999999998,990.75]
["175",1.1260000000000001,1.0629999999999999,0,0,0,0,0,0]
["176",4398.1610000000001,2090.1689999999999,2307.933,3,0,13.41,0,13.41]
["178",434.28700000000003,351.25400000000002,82.986000000000004,0,0,0,0,0]
[182,2711.9679999999998,2253.6689999999999,458.24200000000002,576,92,2574.7199999999998,154.56,2729.28]
["183",3284.7719999999999,2683.0390000000002,601.68399999999997,160,42,715.2,70.56,785.76]
["187",951.63599999999997,750.952,200.619,60,3,268.2,5.04,273.24]
["188/190",53268.499000000003,39225.495999999999,14043.003000000001,892,327,3987.24,549.36,4536.6000000000004]
["191",31156.326000000001,19905.663,11250.663,590,440,2637.3,739.2,3376.5]
["192"]
["193",1.02,0.97599999999999998,0,0,0,0,0,0]
["194"]
["194-5",740.84,493.161,247.679,36,18,160.91999999999999,30.24,191.16]
["195"]
["196",2011.1970000000001,1317.6220000000001,693.57500000000005,0,0,0,0,0]
["199/200"]
["201",213.548,119.276,94.209000000000003,0,0,0,0,0]
["203",389.16700000000003,228.02700000000002,161.14000000000001,0,0,0,0,0]
["204",1511.0810000000001,1117.4190000000001,393.59300000000002,22,7,98.34,11.76,110.1]
["205",10.14,5.9619999999999997,4.1319999999999997,0,0,0,0,0]
["206",1.038,0.98399999999999999,2E-3,0,0,0,0,0]
["208",279.74799999999999,198.179,81.569000000000003,0,0,0,0,0]
["209",1995.931,1138.1659999999999,857.76400000000001,0,0,0,0,0]
["210"]
["211",3235.2939999999999,2550.873,684.42100000000005,115,48,514.04999999999995,80.64,594.69000000000005]
[212,4815.366,3354.8319999999999,1460.4850000000001,16,0,71.52,0,71.52]
[213,5539.2,3696.4090000000001,1842.742,63,34,281.61,57.12,338.73]
["216/217",29661.115000000002,15196.407999999999,14464.707,589,387,2632.83,650.16,3282.99]
[219,633.048,359.21199999999999,273.77699999999999,0,0,0,0,0]
["220",2944.8440000000001,1996.1390000000001,948.65499999999997,163,134,728.61,225.12,953.73]
["221",3874.0059999999999,2733.895,1139.9739999999999,174,69,777.78,115.92,893.7]
[222]
[223,903.96,620.15100000000007,283.80900000000003,26,4,116.22,6.72,122.94]
["225",4761.1279999999997,3317.6880000000001,1443.384,99,40,442.53,67.2,509.73]
["227",365.86799999999999,264.46600000000001,101.35600000000001,5,2,22.35,3.36,25.71]
[233,57255.468000000001,37276.662000000004,19978.760999999999,1938,968,8662.86,1626.24,10289.1]
[234,29169.545000000002,19080.263999999999,10089.273000000001,914,486,4085.58,816.48,4902.0600000000004]
["235",928.43799999999999,549.58799999999997,378.846,24,15,107.28,25.2,132.47999999999999]
[236,1261.42,493.73700000000002,767.61699999999996,26,49,116.22,82.32,198.54]
["239",532.73699999999997,372.75200000000001,159.94,0,0,0,0,0]
["240"]
["241",470.887,334.39100000000002,136.49600000000001,19,1,84.93,1.68,86.61]
["242",884.47199999999998,684.471,199.95099999999999,0,0,0,0,0]
["243",934.51599999999996,696.452,238.06300000000002,43,10,192.21,16.8,209.01]
[244,2133.212,1475.2529999999999,657.89400000000001,4,0,17.88,0,17.88]
[245,7001.1940000000004,4665.259,2335.8870000000002,139,84,621.33000000000004,141.12,762.45]
[246,301.27199999999999,224.57300000000001,76.634,6,0,26.82,0,26.82]
[247,3218.55,2291.33,927.22,2,0,8.94,0,8.94]
["249"]
["250",8996.2019999999993,6027.7660000000005,2968.4360000000001,1029,565,4599.63,949.2,5548.83]
["252",775.75599999999997,576.62400000000002,199.096,0,0,0,0,0]
["253",5551.4870000000001,4066.5170000000003,1484.915,25,3,111.75,5.04,116.79]
["254",10448.56,7048.2440000000006,3400.3160000000003,945,444,4224.1499999999996,745.92,4970.07]
["256",1321.3030000000001,789.93500000000006,531.36699999999996,294,228,1314.18,383.04,1697.22]
[257]
["260",2202.4270000000001,1247.002,955.42500000000007,109,96,487.23,161.28,648.51]
["261",1394.3910000000001,913.35,481.041,513,250,2293.11,420,2713.11]
[264,2132.69,1180.2260000000001,952.40200000000004,34,30,151.97999999999999,50.4,202.38]
[265,253.762,195.97900000000001,57.783000000000001,1,0,4.47,0,4.47]
["266",131.31800000000001,130.22300000000001,1.0449999999999999,0,0,0,0,0]
["269",2796.2280000000001,1929.8430000000001,866.33600000000001,21,13,93.87,21.84,115.71]
["270",1131.7250000000001,979.34900000000005,152.33000000000001,65,22,290.55,36.96,327.51]
["271",1976.509,1537.097,439.40699999999998,48,19,214.56,31.92,246.48]
["272",3.5720000000000001,3.5720000000000001,0,0,0,0,0,0]
["274",3067.277,2271.788,795.48800000000006,0,0,0,0,0]
["275/450",1196.2650000000001,851.91100000000006,344.35399999999998,4,1,17.88,1.68,19.559999999999999]
["277"]
["278",1755.4290000000001,1095.307,660.12199999999996,53,43,236.91,72.239999999999995,309.14999999999998]
["279",592.351,465.53399999999999,126.81700000000001,0,0,0,0,0]
["282",1.5820000000000001,1.5820000000000001,0,0,0,0,0,0]
["283",9.8460000000000001,9,0.79900000000000004,0,0,0,0,0]
["284",7173.4660000000003,4639.0140000000001,2534.4520000000002,711,382,3178.17,641.76,3819.93]
["285",60832.554000000004,40845.065000000002,19987.431,1136,397,5077.92,666.96,5744.88]
["286"]
["287",3427.06,2474.337,952.66700000000003,56,22,250.32,36.96,287.27999999999997]
["289",3702.1060000000002,2784.8009999999999,917.30500000000006,12,0,53.64,0,53.64]
["290",22351.24,15101.258,7249.982,857,460,3830.79,772.8,4603.59]
["291",2859.2400000000002,1825.17,1034.009,5,0,22.35,0,22.35]
["292",2076.9720000000002,1255.569,821.34199999999998,0,0,0,0,0]
["293",3276.7110000000002,2252.6799999999998,1024.018,0,0,0,0,0]
["295",29.233000000000001,29.233000000000001,0,1,0,4.47,0,4.47]
["296",2364.4929999999999,1824.857,539.58900000000006,59,26,263.73,43.68,307.41000000000003]
["297",1126.482,852.37700000000007,274.04700000000003,0,0,0,0,0]
["298",1.046,0.996,0,0,0,0,0,0]
["299",1.0529999999999999,1.0529999999999999,0,0,0,0,0,0]
["301",1.0469999999999999,1.0469999999999999,0,0,0,0,0,0]
["302",3.5089999999999999,3.4689999999999999,0.04,0,0,0,0,0]
["304",2.7480000000000002,2.6870000000000003,0,0,0,0,0,0]
["306/307",2419.1320000000001,1867.335,551.79700000000003,0,0,0,0,0]
["308",1.6850000000000001,1.6850000000000001,0,0,0,0,0,0]
["309",14931.638000000001,10005.379000000001,3398.1640000000002,329,92,1470.63,154.56,1625.19]
["310",10674.696,8306.08,2368.569,703,162,3142.41,272.16000000000003,3414.57]
["315/316",6174.3910000000005,4805.433,1368.952,564,128,2521.08,215.04,2736.12]
["317",599.596,419.93200000000002,179.66400000000002,0,0,0,0,0]
["318",170.785,109.774,61.011000000000003,0,0,0,0,0]
["319",761.03399999999999,372.85899999999998,388.11700000000002,12,6,53.64,10.08,63.72]
["320",3303.0030000000002,1437.318,1865.683,60,128,268.2,215.04,483.24]
["321",8389.7340000000004,6089.0730000000003,2300.6610000000001,342,123,1528.74,206.64,1735.38]
["322",1.1280000000000001,0.99099999999999999,8.8999999999999996E-2,0,0,0,0,0]
["323",4446.1720000000005,3682.6,763.572,79,14,353.13,23.52,376.65]
["325",271.27300000000002,218.46,52.75,14,0,62.58,0,62.58]
["326",1637.934,1241.78,396.09300000000002,101,23,451.47,38.64,490.11]
["327",620.98900000000003,444.34000000000003,176.60599999999999,0,0,0,0,0]
["328",585.99300000000005,457.28899999999999,128.648,0,0,0,0,0]
["329",2521.241,2055.2370000000001,466.00400000000002,143,24,639.21,40.32,679.53]
["330",1.1240000000000001,1.1240000000000001,0,0,0,0,0,0]
["333/334",339.26100000000002,286.25900000000001,53.002000000000002,12,1,53.64,1.68,55.32]
["335/336",3.0009999999999999,2.9460000000000002,3.0000000000000001E-3,0,0,0,0,0]
["338",2325.7310000000002,2020.6680000000001,305.06299999999999,49,4,219.03,6.72,225.75]
["339",1286.7460000000001,966.21100000000001,320.50400000000002,5,2,22.35,3.36,25.71]
["340",3551.4160000000002,2851.71,699.70500000000004,46,9,205.62,15.12,220.74]
["341",6.96,6.8029999999999999,0.113,0,0,0,0,0]
["342",2237.4940000000001,1106.0309999999999,1131.463,232,269,1037.04,451.92,1488.96]
["343/344",8615.5239999999994,7252.991,1362.454,897,224,4009.59,376.32,4385.91]
["346/347"]
["348",3780.4259999999999,2970.9490000000001,809.42700000000002,114,35,509.58,58.8,568.38]
["349",1546.653,1224.3589999999999,322.24599999999998,0,0,0,0,0]
["353",1.0569999999999999,1.0130000000000001,4.3999999999999997E-2,0,0,0,0,0]
["354",3.7669999999999999,3.3879999999999999,0.33600000000000002,0,0,0,0,0]
["357",344.35,198.04300000000001,146.30700000000002,2,1,8.94,1.68,10.62]
["360",148.572,111.91200000000001,36.660000000000004,0,0,0,0,0]
["361",877.34900000000005,658.11199999999997,219.23699999999999,0,0,0,0,0]
["362",123.60600000000001,101.473,22.081,0,0,0,0,0]
["364",72.311999999999998,54.678000000000004,17.581,0,0,0,0,0]
["365"]
["367",1.07,0.999,7.1000000000000008E-2,0,0,0,0,0]
["368/369",3735.835,3079.8580000000002,655.97699999999998,489,119,2185.83,199.92,2385.75]
["370",4489.4740000000002,3721.098,768.27700000000004,237,32,1059.3900000000001,53.76,1113.1500000000001]
["371",8371.8520000000008,5971.1379999999999,2400.7139999999999,332,33,1484.04,55.44,1539.48]
["372",6001.96,3980.0439999999999,2021.9159999999999,0,0,0,0,0]
["373",473.68099999999998,361.23200000000003,112.449,0,0,0,0,0]
["374",180.80700000000002,142.27799999999999,38.474000000000004,0,0,0,0,0]
["376",326.17599999999999,245.59700000000001,80.579000000000008,0,0,0,0,0]
["377"]
["378",18.408999999999999,15.047000000000001,3.3120000000000003,0,0,0,0,0]
["379",780.71199999999999,496.31799999999998,284.33300000000003,0,0,0,0,0]
["380",215.941,159.291,56.588999999999999,0,0,0,0,0]
["381"]
["382"]
["383",13379.275,8919.9719999999998,4459.3029999999999,1006,523,4496.82,878.64,5375.46]
["384",39746.6,26325,13421.282999999999,952,613,4255.4399999999996,1029.8399999999999,5285.28]
["385",43.506,34.819000000000003,8.6869999999999994,0,0,0,0,0]
["386",13.141,12.873000000000001,0.216,0,0,0,0,0]
["387"]
["388",5399.02,3893.7760000000003,1505.2360000000001,214,60,956.58,100.8,1057.3800000000001]
["389",1878.884,1355.518,523.31500000000005,0,0,0,0,0]
["390",515.17100000000005,375.26300000000003,139.90800000000002,240,91,1072.8,152.88,1225.68]
["392",124.43300000000001,123.378,1.0549999999999999,0,0,0,0,0]
["394",19068.105,12510.443000000001,6557.6490000000003,226,154,1010.22,258.72000000000003,1268.94]
["395",2950.098,2479.9430000000002,470.15500000000003,199,46,889.53,77.28,966.81]
["396",985.21199999999999,717.92899999999997,267.28300000000002,0,0,0,0,0]
["397"]
["398",20.763000000000002,17.596,3.0960000000000001,0,0,0,0,0]
["399",2937.319,2235.2980000000002,701.96,64,13,286.08,21.84,307.92]
["400а",2.6819999999999999,2.4500000000000002,0.17,0,0,0,0,0]
["401",4.49,4.4020000000000001,1E-3,0,0,0,0,0]
["406",761.48,585.779,175.70099999999999,7,0,31.29,0,31.29]
["407"]
["408",5428.5140000000001,3942.8580000000002,1485.6559999999999,920,289,4112.3999999999996,485.52,4597.92]
["409",1374.44,1222.211,152.22900000000001,169,5,755.43,8.4,763.83]
["410",1191.6510000000001,707.48500000000001,484.166,0,0,0,0,0]
["411",588.67399999999998,448.04,140.572,0,0,0,0,0]
["413",3807.1170000000002,2554.4459999999999,1252.671,1095,560,4894.6499999999996,940.8,5835.45]
["412",4862.942,3811.2910000000002,1051.5999999999999,91,37,406.77,62.16,468.93]
["416",268.65800000000002,241.06800000000001,27.542000000000002,0,0,0,0,0]
["417",14063.575000000001,8851.9950000000008,5211.54,343,172,1533.21,288.95999999999998,1822.17]
["418/419"]
["420",9353.7450000000008,6518.6480000000001,2835.049,325,156,1452.75,262.08,1714.83]
["421",1.2989999999999999,1.1080000000000001,0,0,0,0,0,0]
["422",2.7,2.645,0,0,0,0,0,0]
["423",2006.105,1466.883,539.17899999999997,31,4,138.57,6.72,145.29]
["424",2050.768,1324.4080000000001,726.36,181,134,809.07,225.12,1034.19]
["427/428",11417.862000000001,8345.9369999999999,3071.8780000000002,1181,538,5279.07,903.84,6182.91]
["430",10753.692000000001,7470.3370000000004,3283.32,28,9,125.16,15.12,140.28]
["431"]
["432"]
["434",29235.289000000001,19446.18,9789.1090000000004,1208,552,5399.76,927.36,6327.12]
["435",2350.0619999999999,1644.5070000000001,705.55500000000006,12,3,53.64,5.04,58.68]
["437/439",2377.6680000000001,1777.232,600.43600000000004,95,34,424.65,57.12,481.77]
["440",239.74299999999999,211.68200000000002,28.061,9,0,40.229999999999997,0,40.229999999999997]
["441/442",1466.89,1154.739,312.10399999999998,0,0,0,0,0]
["443",1240.146,951.05500000000006,289.09100000000001,325,106,1452.75,178.08,1630.83]
["444",624.572,433.45699999999999,191.11500000000001,0,0,0,0,0]
["445"]
["446",11675.954,8979.9510000000009,2696.0030000000002,617,135,2757.99,226.8,2984.79]
["447",1233.402,1014.846,218.51300000000001,0,0,0,0,0]
["448"]
["449",746.24900000000002,633.60699999999997,112.595,0,0,0,0,0]
["451",3.9540000000000002,3.9290000000000003,2.5000000000000001E-2,0,0,0,0,0]

{"sheet":"Лист2","index":1,"n_rows":270,"n_cols":10,"rows_kept":270,"cut":false,"hidden":false,"merged":[[0,0,0,10]]}
["Display Data"]
["#","Адрес","Дата и время","Серийный №","Тип устройства","Активная энергия, импорт",null,"Активная энергия, импорт, тариф1",null,"Активная энергия, импорт, тариф2"]
[1,null,"2020-03-30","3153969","NP71L.1-1-3",3067.277,null,2271.788,null,795.48800000000006]
[2,null,"2020-04-17","3318300","NP71L.1-1-3",934.51599999999996,null,696.452,null,238.06300000000002]
[3,null,"2020-04-19","3140927","NP71L.1-1-3",5551.4870000000001,null,4066.5170000000003,null,1484.915]
[4,null,"2020-04-19","3318409","NP71L.1-1-3",1995.931,null,1138.1659999999999,null,857.76400000000001]
[5,null,"2020-04-19","3173801","NP71L.1-1-3",1511.0810000000001,null,1117.4190000000001,null,393.59300000000002]
[6,null,"2020-04-25","3145120","NP71L.1-1-3",473.68099999999998,null,361.23200000000003,null,112.449]
[7,null,"2020-04-28","3143047","NP71L.1-1-3",5539.2,null,3696.4090000000001,null,1842.742]
[8,null,"2020-04-29T23:00:00","11404360","NP73L.1-8-1-(7.2 FSK)",53268.499000000003,null,39225.495999999999,null,14043.003000000001]
[9,null,"2020-04-29T23:00:00","11404006","NP73L.1-8-1-(7.2 FSK)",102347.84,null,69728.540999999997,null,32619.298999999999]
[10,null,"2020-04-29T23:00:00","11402593","NP73L.1-8-1-(7.2 FSK)",5217.1440000000002,null,2493.308,null,2723.8360000000002]
[11,null,"2020-04-30","4154665","NP71E.1-10-1-(7.2 FSK)",31156.326000000001,null,19905.663,null,11250.663]
[12,null,"2020-04-30","4156823","NP71E.1-10-1-(7.2 FSK)",22351.24,null,15101.258,null,7249.982]
[13,null,"2020-04-30","3182533","NP71L.1-1-3",3427.06,null,2474.337,null,952.66700000000003]
[14,null,"2020-04-30","3144573","NP71L.1-1-3",1211.174,null,1007.283,null,203.89099999999999]
[15,null,"2020-04-30","3174251","NP71L.1-1-3",60832.554000000004,null,40845.065000000002,null,19987.431]
[16,null,"2020-04-30","3155922","NP71L.1-1-3",1233.402,null,1014.846,null,218.51300000000001]
[17,null,"2020-04-30","3152112","NP71L.1-1-3",253.762,null,195.97900000000001,null,57.783000000000001]
[18,null,"2020-04-30","3151894","NP71L.1-1-3",2011.1970000000001,null,1317.6220000000001,null,693.57500000000005]
[19,null,"2020-04-30","4164474","NP71E.1-10-1-(7.2 FSK)",1755.4290000000001,null,1095.307,null,660.12199999999996]
[20,null,"2020-04-30","4307101","NP73E.3-14-1-(7.2 FSK)",7253.4660000000003,null,5020.7489999999998,null,2232.7170000000001]
[21,null,"2020-04-30","3151886","NP71L.1-1-3",2855.7089999999998,null,2162.84,null,692.82100000000003]
[22,null,"2020-04-30","3157598","NP71L.1-1-3",123.60600000000001,null,101.473,null,22.081]
[23,null,"2020-04-30","3152324","NP71L.1-1-3",7057.7550000000001,null,4586.1930000000002,null,2471.511]
[24,null,"2020-04-30","3157211","NP71L.1-1-3",10448.56,null,7048.2440000000006,null,3400.3160000000003]
[25,null,"2020-04-30","3143945","NP71L.1-1-3",1131.7250000000001,null,979.34900000000005,null,152.33000000000001]
[26,null,"2020-04-30","3191199","NP71L.1-1-3",2796.2280000000001,null,1929.8430000000001,null,866.33600000000001]
[27,null,"2020-04-30","3174876","NP71L.1-1-3",484.351,null,376.46,null,107.89100000000001]
[28,null,"2020-04-30","3153181","NP71L.1-1-3",131.31800000000001,null,130.22300000000001,null,1.0449999999999999]
[29,null,"2020-04-30","3179761","NP71L.1-1-3",3235.2939999999999,null,2550.873,null,684.42100000000005]
[30,null,"2020-04-30","3145937","NP71L.1-1-3",689.58199999999999,null,538.48199999999997,null,151.1]
[31,null,"2020-04-30","3142352","NP71L.1-1-3",3702.1060000000002,null,2784.8009999999999,null,917.30500000000006]
[32,null,"2020-04-30","3311033","NP71L.1-1-3",592.351,null,465.53399999999999,null,126.81700000000001]
[33,null,"2020-04-30","3175375","NP71L.1-1-3",2132.69,null,1180.2260000000001,null,952.40200000000004]
[34,null,"2020-04-30","3159106","NP71L.1-1-3",1196.2650000000001,null,851.91100000000006,null,344.35399999999998]
[35,null,"2020-04-30","3155438","NP71L.1-1-3",877.34900000000005,null,658.11199999999997,null,219.23699999999999]
[36,null,"2020-04-30","3159267","NP71L.1-1-3",775.75599999999997,null,576.62400000000002,null,199.096]
[37,null,"2020-04-30","3177610","NP71L.1-1-3",746.24900000000002,null,633.60699999999997,null,112.595]
[38,null,"2020-04-30","3144525","NP71L.1-1-3",951.63599999999997,null,750.952,null,200.619]
[39,null,"2020-04-30","3177472","NP71L.1-1-3",10793.936,null,3856.2550000000001,null,6937.6810000000005]
[40,null,"2020-04-30","3159104","NP71L.1-1-3",2859.2400000000002,null,1825.17,null,1034.009]
[41,null,"2020-04-30","3145724","NP71L.1-1-3",301.27199999999999,null,224.57300000000001,null,76.634]
[42,null,"2020-04-30","3145695","NP71L.1-1-3",4398.1610000000001,null,2090.1689999999999,null,2307.933]
[43,null,"2020-04-30","3143943","NP71L.1-1-3",3780.4259999999999,null,2970.9490000000001,null,809.42700000000002]
[44,null,"2020-04-30","3164412","NP71L.1-1-3",2202.4270000000001,null,1247.002,null,955.42500000000007]
[45,null,"2020-04-30","3151974","NP71L.1-1-3",8615.5239999999994,null,7252.991,null,1362.454]
[46,null,"2020-04-30","3142157","NP71L.1-1-3",2197.1709999999998,null,1661.636,null,535.47]
[47,null,"2020-04-30","3183473","NP71L.1-1-3",6.96,null,6.8029999999999999,null,0.113]
[48,null,"2020-04-30","3177443","NP71L.1-1-3",187.84,null,166.51300000000001,null,21.276]
[49,null,"2020-04-30","3180072","NP71L.1-1-3",2364.4929999999999,null,1824.857,null,539.58900000000006]
[50,null,"2020-04-30","3145891","NP71L.1-1-3",43461.773000000001,null,30981.62,null,12480.153]
[51,null,"2020-04-30","3144565","NP71L.1-1-3",3284.7719999999999,null,2683.0390000000002,null,601.68399999999997]
[52,null,"2020-04-30","3154758","NP71L.1-1-3",32249.083999999999,null,21631.212,null,10617.871000000001]
[53,null,"2020-04-30","3191977","NP71L.1-1-3",268.65800000000002,null,241.06800000000001,null,27.542000000000002]
[54,null,"2020-04-30","3151832","NP71L.1-1-3",3276.7110000000002,null,2252.6799999999998,null,1024.018]
[55,null,"2020-04-30","3143455","NP71L.1-1-3",1546.653,null,1224.3589999999999,null,322.24599999999998]
[56,null,"2020-04-30","3144819","NP71L.1-1-3",2076.9720000000002,null,1255.569,null,821.34199999999998]
[57,null,"2020-04-30","3145622","NP71L.1-1-3",1976.509,null,1537.097,null,439.40699999999998]
[58,null,"2020-04-30","3316944","NP71L.1-1-3",148.572,null,111.91200000000001,null,36.660000000000004]
[59,null,"2020-04-30","3160817","NP71L.1-1-3",1.038,null,0.98399999999999999,null,2E-3]
[60,null,"2020-04-30","3164330","NP71L.1-1-3",279.74799999999999,null,198.179,null,81.569000000000003]
[61,null,"2020-04-30","3174741","NP71L.1-1-3",29235.289000000001,null,19446.18,null,9789.1090000000004]
[62,null,"2020-04-30","3141132","NP71L.1-1-3",5653.95,null,3785.377,null,1868.539]
[63,null,"2020-04-30","3162306","NP71L.1-1-3",10.14,null,5.9619999999999997,null,4.1319999999999997]
[64,null,"2020-04-30","3159068","NP71L.1-1-3",2006.105,null,1466.883,null,539.17899999999997]
[65,null,"2020-04-30","3143295","NP71L.1-1-3",3.0009999999999999,null,2.9460000000000002,null,3.0000000000000001E-3]
[66,null,"2020-04-30","3310226","NP71L.1-1-3",344.35,null,198.04300000000001,null,146.30700000000002]
[67,null,"2020-04-30","3152934","NP71L.1-1-3",1637.934,null,1241.78,null,396.09300000000002]
[68,null,"2020-04-30","3173643","NP71L.1-1-3",780.71199999999999,null,496.31799999999998,null,284.33300000000003]
[69,null,"2020-04-30","3181130","NP71L.1-1-3",1.1260000000000001,null,1.0629999999999999,null,0]
[70,null,"2020-04-30","3164252","NP71L.1-1-3",1.069,null,1.0249999999999999,null,0]
[71,null,"2020-04-30","3164133","NP71L.1-1-3",3.5820000000000003,null,2.9,null,0.627]
[72,null,"2020-04-30","3175215","NP71L.1-1-3",1.1380000000000001,null,1.1340000000000001,null,4.0000000000000001E-3]
[73,null,"2020-04-30","3151899","NP71L.1-1-3",434.28700000000003,null,351.25400000000002,null,82.986000000000004]
[74,null,"2020-04-30","3182996","NP71L.1-1-3",1.1160000000000001,null,0.997,null,7.9000000000000001E-2]
[75,null,"2020-04-30","3164771","NP71L.1-1-3",0.96199999999999997,null,0.96199999999999997,null,0]
[76,null,"2020-04-30","3196792","NP71L.1-1-3",213.548,null,119.276,null,94.209000000000003]
[77,null,"2020-04-30","3316698","NP71L.1-1-3",389.16700000000003,null,228.02700000000002,null,161.14000000000001]
[78,null,"2020-04-30","3174648","NP71L.1-1-3",3.7669999999999999,null,3.3879999999999999,null,0.33600000000000002]
[79,null,"2020-04-30","3145116","NP71L.1-1-3",9.8460000000000001,null,9,null,0.79900000000000004]
[80,null,"2020-04-30","3318396","NP71L.1-1-3",29.233000000000001,null,29.233000000000001,null,0]
[81,null,"2020-04-30","3136562","NP71L.1-1-3",2.7,null,2.645,null,0]
[82,null,"2020-04-30","3317201","NP71L.1-1-3",5399.02,null,3893.7760000000003,null,1505.2360000000001]
[83,null,"2020-04-30","3143414","NP71L.1-1-3",271.27300000000002,null,218.46,null,52.75]
[84,null,"2020-04-30","3320424","NP71L.1-1-3",1.0569999999999999,null,1.0130000000000001,null,4.3999999999999997E-2]
[85,null,"2020-04-30","3175680","NP71L.1-1-3",624.572,null,433.45699999999999,null,191.11500000000001]
[86,null,"2020-04-30","3164192","NP71L.1-1-3",1.02,null,0.97599999999999998,null,0]
[87,null,"2020-04-30","3191148","NP71L.1-1-3",14063.575000000001,null,8851.9950000000008,null,5211.54]
[88,null,"2020-04-30","3316723","NP71L.1-1-3",170.785,null,109.774,null,61.011000000000003]
[89,null,"2020-04-30","3152932","NP71L.1-1-3",326.17599999999999,null,245.59700000000001,null,80.579000000000008]
[90,null,"2020-04-30","3152526","NP71L.1-1-3",9353.7450000000008,null,6518.6480000000001,null,2835.049]
[91,null,"2020-04-30","3183133","NP71L.1-1-3",985.21199999999999,null,717.92899999999997,null,267.28300000000002]
[92,null,"2020-04-30","3179054","NP71L.1-1-3",8996.2019999999993,null,6027.7660000000005,null,2968.4360000000001]
[93,null,"2020-04-30","4168573","NP71E.1-10-1-(7.2 FSK)",6.1050000000000004,null,6.1050000000000004,null,0]
[94,null,"2020-04-30","4167978","NP71E.1-10-1-(7.2 FSK)",1.5820000000000001,null,1.5820000000000001,null,0]
[95,null,"2020-04-30","4172388","NP71E.1-10-1-(7.2 FSK)",13379.275,null,8919.9719999999998,null,4459.3029999999999]
[96,null,"2020-04-30","4170763","NP71E.1-10-1-(7.2 FSK)",7173.4660000000003,null,4639.0140000000001,null,2534.4520000000002]
[97,null,"2020-04-30","4170644","NP71E.1-10-1-(7.2 FSK)",10277.681,null,6206.0010000000002,null,4071.6800000000003]
[98,null,"2020-04-30","4169925","NP71E.1-10-1-(7.2 FSK)",88.384,null,56.131,null,32.253]
[99,null,"2020-04-30","3953772","NP71E.1-10-1-(7.2 FSK)",4446.1720000000005,null,3682.6,null,763.572]
[100,null,"2020-04-30","3141182","NP71L.1-1-3",2711.9679999999998,null,2253.6689999999999,null,458.24200000000002]
[101,null,"2020-04-30","3153138","NP71L.1-1-3",2.6819999999999999,null,2.4500000000000002,null,0.17]
[102,null,"2020-04-30","3191591","NP71L.1-1-3",10753.692000000001,null,7470.3370000000004,null,3283.32]
[103,null,"2020-04-30","3180357","NP71L.1-1-3",3218.55,null,2291.33,null,927.22]
[104,null,"2020-04-30","3160617","NP71L.1-1-3",4815.366,null,3354.8319999999999,null,1460.4850000000001]
[105,null,"2020-04-30","3174702","NP71L.1-1-3",72.311999999999998,null,54.678000000000004,null,17.581]
[106,null,"2020-04-30","3192519","NP71L.1-1-3",180.80700000000002,null,142.27799999999999,null,38.474000000000004]
[107,null,"2020-04-30","3318663","NP71L.1-1-3",124.43300000000001,null,123.378,null,1.0549999999999999]
[108,null,"2020-04-30","3143646","NP71L.1-1-3",2050.768,null,1324.4080000000001,null,726.36]
[109,null,"2020-04-30","4167599","NP71E.1-10-1-(7.2 FSK)",6001.96,null,3980.0439999999999,null,2021.9159999999999]
[110,null,"2020-04-30","3152172","NP71L.1-1-3",3551.4160000000002,null,2851.71,null,699.70500000000004]
[111,null,"2020-04-30","3145369","NP71L.1-1-3",585.99300000000005,null,457.28899999999999,null,128.648]
[112,null,"2020-04-30","4167586","NP71E.1-10-1-(7.2 FSK)",1141.8779999999999,null,707.11800000000005,null,434.76]
[113,null,"2020-04-30","3173929","NP71L.1-1-3",1.1280000000000001,null,1.085,null,0]
[114,null,"2020-04-30","4306940","NP73E.3-14-1-(7.2 FSK)",15063.394,null,10053.099,null,5010.2950000000001]
[115,null,"2020-04-30","3151810","NP71L.1-1-3",1286.7460000000001,null,966.21100000000001,null,320.50400000000002]
[116,null,"2020-04-30","3142728","NP71L.1-1-3",525.54600000000005,null,383.52199999999999,null,141.98599999999999]
[117,null,"2020-04-30","3142907","NP71L.1-1-3",1479.585,null,949.68399999999997,null,529.83400000000006]
[118,null,"2020-04-30","3198698","NP71L.1-1-3",3.9540000000000002,null,3.9290000000000003,null,2.5000000000000001E-2]
[119,null,"2020-04-30","3072953","NP71L.1-1-3",761.03399999999999,null,372.85899999999998,null,388.11700000000002]
[120,null,"2020-04-30","3172814","NP71L.1-1-3",1466.89,null,1154.739,null,312.10399999999998]
[121,null,"2020-04-30","3174227","NP71L.1-1-3",1.2989999999999999,null,1.1080000000000001,null,0]
[122,null,"2020-04-30","3987438","NP71E.1-10-1-(7.2 FSK)",470.887,null,334.39100000000002,null,136.49600000000001]
[123,null,"2020-04-30","3986846","NP71E.1-10-1-(7.2 FSK)",740.84,null,493.161,null,247.679]
[124,null,"2020-04-30","4306570","NP73E.3-14-1-(7.2 FSK)",5712.6610000000001,null,4125.7730000000001,null,1586.8879999999999]
[125,null,"2020-04-30","3991057","NP71E.1-10-1-(7.2 FSK)",18.901,null,16.809000000000001,null,2.0920000000000001]
[126,null,"2020-04-30","3992009","NP71E.1-10-1-(7.2 FSK)",2237.4940000000001,null,1106.0309999999999,null,1131.463]
[127,null,"2020-04-30","3992168","NP71E.1-10-1-(7.2 FSK)",1321.3030000000001,null,789.93500000000006,null,531.36699999999996]
[128,null,"2020-04-30","3991313","NP71E.1-10-1-(7.2 FSK)",1394.3910000000001,null,913.35,null,481.041]
[129,null,"2020-04-30","4190674","NP71E.1-10-1-(7.2 FSK)",3.5720000000000001,null,3.5720000000000001,null,0]
[130,null,"2020-04-30","3958064","NP71E.1-10-1-(7.2 FSK)",1518.6880000000001,null,1021.054,null,497.63400000000001]
[131,null,"2020-04-30","3958712","NP71E.1-10-1-(7.2 FSK)",76080.565000000002,null,50179.319000000003,null,25901.245999999999]
[132,null,"2020-04-30","3954057","NP71E.1-10-1-(7.2 FSK)",14.559000000000001,null,12.419,null,2.14]
[133,null,"2020-04-30","3152336","NP71L.1-1-3",744.64,null,533.70000000000005,null,210.90299999999999]
[134,null,"2020-04-30","3142691","NP71L.1-1-3",2045.3310000000001,null,1370.8700000000001,null,674.46100000000001]
[135,null,"2020-04-30","3142671","NP71L.1-1-3",374.90500000000003,null,258.65600000000001,null,116.197]
[136,null,"2020-04-30","3320394","NP71L.1-1-3",9420.5290000000005,null,6283.6549999999997,null,3136.8740000000003]
[137,null,"2020-04-30","3141415","NP71L.1-1-3",383.221,null,273.24799999999999,null,109.914]
[138,null,"2020-04-30","3152408","NP71L.1-1-3",2907.9929999999999,null,1950.5330000000001,null,957.399]
[139,null,"2020-04-30","3164634","NP71L.1-1-3",12336.331,null,8122.518,null,4213.7529999999997]
[140,null,"2020-04-30","3145359","NP71L.1-1-3",2277.3519999999999,null,1780.1480000000001,null,497.20400000000001]
[141,null,"2020-04-30","3143331","NP71L.1-1-3",4761.1279999999997,null,3317.6880000000001,null,1443.384]
[142,null,"2020-04-30","3160330","NP71L.1-1-3",57255.468000000001,null,37276.662000000004,null,19978.760999999999]
[143,null,"2020-04-30","3143105","NP71L.1-1-3",5767.2150000000001,null,4303.7179999999998,null,1463.4460000000001]
[144,null,"2020-04-30","3183604","NP71L.1-1-3",24447.575000000001,null,16727.406999999999,null,7720.1100000000006]
[145,null,"2020-04-30","3151931","NP71L.1-1-3",2696.5680000000002,null,1911.558,null,784.96100000000001]
[146,null,"2020-04-30","3107348","NP71L.1-1-3",3409.8330000000001,null,2591.0129999999999,null,818.76300000000003]
[147,null,"2020-04-30","3144086","NP71L.1-1-3",29661.115000000002,null,15196.407999999999,null,14464.707]
[148,null,"2020-04-30","3174746","NP71L.1-1-3",1261.42,null,493.73700000000002,null,767.61699999999996]
[149,null,"2020-04-30","3151938","NP71L.1-1-3",532.73699999999997,null,372.75200000000001,null,159.94]
[150,null,"2020-04-30","3314651","NP71L.1-1-3",928.43799999999999,null,549.58799999999997,null,378.846]
[151,null,"2020-04-30","3177570","NP71L.1-1-3",29169.545000000002,null,19080.263999999999,null,10089.273000000001]
[152,null,"2020-04-30","3152006","NP71L.1-1-3",10763.853999999999,null,7056.6869999999999,null,3707.12]
[153,null,"2020-04-30","3153052","NP71L.1-1-3",2944.8440000000001,null,1996.1390000000001,null,948.65499999999997]
[154,null,"2020-04-30","3173855","NP71L.1-1-3",365.86799999999999,null,264.46600000000001,null,101.35600000000001]
[155,null,"2020-04-30","3192845","NP71L.1-1-3",215.941,null,159.291,null,56.588999999999999]
[156,null,"2020-04-30","3317087","NP71L.1-1-3",3303.0030000000002,null,1437.318,null,1865.683]
[157,null,"2020-04-30","3142225","NP71L.1-1-3",633.048,null,359.21199999999999,null,273.77699999999999]
[158,null,"2020-04-30","3143920","NP71L.1-1-3",903.96,null,620.15100000000007,null,283.80900000000003]
[159,null,"2020-04-30","3179621","NP71L.1-1-3",157.93299999999999,null,106.04900000000001,null,51.884]
[160,null,"2020-04-30","3968242","NP71E.1-10-1-(7.2 FSK)",1138.69,null,904.56600000000003,null,234.124]
[161,null,"2020-04-30","3145711","NP71L.1-1-3",2.6430000000000002,null,2.597,null,4.5999999999999999E-2]
[162,null,"2020-04-30","3179095","NP71L.1-1-3",0.98599999999999999,null,0.98599999999999999,null,0]
[163,null,"2020-04-30","3182257","NP71L.1-1-3",1.091,null,1.091,null,0]
[164,null,"2020-04-30","3141714","NP71L.1-1-3",350.82900000000001,null,279.935,null,70.838999999999999]
[165,null,"2020-04-30","3178284","NP71L.1-1-3",884.47199999999998,null,684.471,null,199.95099999999999]
[166,null,"2020-04-30","3183309","NP71L.1-1-3",1.1280000000000001,null,0.99099999999999999,null,8.8999999999999996E-2]
[167,null,"2020-04-30","3318320","NP71L.1-1-3",2369.6750000000002,null,1825.068,null,544.60699999999997]
[168,null,"2020-04-30","3175033","NP71L.1-1-3",599.596,null,419.93200000000002,null,179.66400000000002]
[169,null,"2020-04-30","3174149","NP71L.1-1-3",1.0469999999999999,null,1.0469999999999999,null,0]
[170,null,"2020-04-30","4168068","NP71E.1-10-1-(7.2 FSK)",1982.6380000000001,null,1292.6310000000001,null,690.00700000000006]
[171,null,"2020-04-30","3172909","NP71L.1-1-3",11417.862000000001,null,8345.9369999999999,null,3071.8780000000002]
[172,null,"2020-04-30","3145909","NP71L.1-1-3",620.98900000000003,null,444.34000000000003,null,176.60599999999999]
[173,null,"2020-04-30","3152643","NP71L.1-1-3",1878.884,null,1355.518,null,523.31500000000005]
[174,null,"2020-04-30","3166096","NP71L.1-1-3",4862.942,null,3811.2910000000002,null,1051.5999999999999]
[175,null,"2020-04-30","3192963","NP71L.1-1-3",239.74299999999999,null,211.68200000000002,null,28.061]
[176,null,"2020-04-30","3145190","NP71L.1-1-3",4043.6510000000003,null,3116.7220000000002,null,926.92899999999997]
[177,null,"2020-04-30","3950938","NP71E.1-10-1-(7.2 FSK)",1.6850000000000001,null,1.6850000000000001,null,0]
[178,null,"2020-04-30","3183270","NP71L.1-1-3",1.0529999999999999,null,1.0529999999999999,null,0]
[179,null,"2020-04-30","3181421","NP71L.1-1-3",43.506,null,34.819000000000003,null,8.6869999999999994]
[180,null,"2020-04-30","3176769","NP71L.1-1-3",20.763000000000002,null,17.596,null,3.0960000000000001]
[181,null,"2020-04-30","3142234","NP71L.1-1-3",7698.4930000000004,null,6234.1559999999999,null,1464.3330000000001]
[182,null,"2020-04-30","4165758","NP71E.1-10-1-(7.2 FSK)",2419.1320000000001,null,1867.335,null,551.79700000000003]
[183,null,"2020-04-30","3179506","NP71L.1-1-3",588.67399999999998,null,448.04,null,140.572]
[184,null,"2020-04-30","3174244","NP71L.1-1-3",10674.696,null,8306.08,null,2368.569]
[185,null,"2020-04-30","3170937","NP71L.1-1-3",1374.44,null,1222.211,null,152.22900000000001]
[186,null,"2020-04-30","3174254","NP71L.1-1-3",3874.0059999999999,null,2733.895,null,1139.9739999999999]
[187,null,"2020-04-30","3142388","NP71L.1-1-3",3735.835,null,3079.8580000000002,null,655.97699999999998]
[188,null,"2020-04-30","3178370","NP71L.1-1-3",2950.098,null,2479.9430000000002,null,470.15500000000003]
[189,null,"2020-04-30","3178221","NP71L.1-1-3",1126.482,null,852.37700000000007,null,274.04700000000003]
[190,null,"2020-04-30","3161484","NP71L.1-1-3",2937.319,null,2235.2980000000002,null,701.96]
[191,null,"2020-04-30","4171386","NP71E.1-10-1-(7.2 FSK)",2377.6680000000001,null,1777.232,null,600.43600000000004]
[192,null,"2020-04-30","4283879","NP73E.1-11-1-(7.2 FSK)",106.282,null,80.744,null,25.538]
[193,null,"2020-04-30","3174194","NP71L.1-1-3",2350.0619999999999,null,1644.5070000000001,null,705.55500000000006]
[194,null,"2020-04-30","3145512","NP71L.1-1-3",39746.6,null,26325,null,13421.282999999999]
[195,null,"2020-04-30","3952386","NP71E.1-10-1-(7.2 FSK)",2325.7310000000002,null,2020.6680000000001,null,305.06299999999999]
[196,null,"2020-04-30","3157946","NP71L.1-1-3",1191.6510000000001,null,707.48500000000001,null,484.166]
[197,null,"2020-04-30","3182333","NP71L.1-1-3",6174.3910000000005,null,4805.433,null,1368.952]
[198,null,"2020-04-30","3174250","NP71L.1-1-3",4.49,null,4.4020000000000001,null,1E-3]
[199,null,"2020-04-30","3191453","NP71L.1-1-3",18.408999999999999,null,15.047000000000001,null,3.3120000000000003]
[200,null,"2020-04-30","3191981","NP71L.1-1-3",3.5089999999999999,null,3.4689999999999999,null,0.04]
[201,null,"2020-04-30","3174528","NP71L.1-1-3",2133.212,null,1475.2529999999999,null,657.89400000000001]
[202,null,"2020-04-30","3182344","NP71L.1-1-3",1.07,null,0.999,null,7.1000000000000008E-2]
[203,null,"2020-04-30","3173935","NP71L.1-1-3",11675.954,null,8979.9510000000009,null,2696.0030000000002]
[204,null,"2020-04-30","3951729","NP71E.1-10-1-(7.2 FSK)",515.17100000000005,null,375.26300000000003,null,139.90800000000002]
[205,null,"2020-04-30","4167625","NP71E.1-10-1-(7.2 FSK)",1240.146,null,951.05500000000006,null,289.09100000000001]
[206,null,"2020-04-30","3181833","NP71L.1-1-3",8371.8520000000008,null,5971.1379999999999,null,2400.7139999999999]
[207,null,"2020-04-30","4182168","NP71E.1-10-1-(7.2 FSK)",3807.1170000000002,null,2554.4459999999999,null,1252.671]
[208,null,"2020-04-30","3992046","NP71E.1-10-1-(7.2 FSK)",41.695,null,29.087,null,12.608000000000001]
[209,null,"2020-04-30","3142857","NP71L.1-1-3",288.55700000000002,null,237.40700000000001,null,51.091999999999999]
[210,null,"2020-04-30","3143458","NP71L.1-1-3",12774.114,null,9664.1740000000009,null,3109.8820000000001]
[211,null,"2020-04-30","3132896","NP71L.1-1-3",455.76400000000001,null,354.52500000000003,null,101.239]
[212,null,"2020-04-30","3141296","NP71L.1-1-3",1483.6880000000001,null,1019.87,null,463.77]
[213,null,"2020-04-30","4164371","NP71E.1-10-1-(7.2 FSK)",3818.6179999999999,null,2743.7640000000001,null,1074.854]
[214,null,"2020-04-30","3181134","NP71L.1-1-3",5673.8029999999999,null,3733.252,null,1940.4380000000001]
[215,null,"2020-04-30","3310628","NP71L.1-1-3",293.17900000000003,null,254.45000000000002,null,38.728999999999999]
[216,null,"2020-04-30","3145535","NP71L.1-1-3",1172.6179999999999,null,832.01099999999997,null,340.60599999999999]
[217,null,"2020-04-30","3144641","NP71L.1-1-3",272.03899999999999,null,232.511,null,39.527999999999999]
[218,null,"2020-04-30","3144564","NP71L.1-1-3",256.31900000000002,null,196.50300000000001,null,59.816000000000003]
[219,null,"2020-04-30","3144566","NP71L.1-1-3",13890.898000000001,null,8648.4030000000002,null,5242.4949999999999]
[220,null,"2020-04-30","3174748","NP71L.1-1-3",666.01200000000006,null,533.87300000000005,null,132.13900000000001]
[221,null,"2020-04-30","3145694","NP71L.1-1-3",1477.8890000000001,null,1132.8150000000001,null,345.024]
[222,null,"2020-04-30","3182509","NP71L.1-1-3",31499.805,null,21067.867000000002,null,10431.887000000001]
[223,null,"2020-04-30","3145065","NP71L.1-1-3",3979.5480000000002,null,2786.672,null,1192.8140000000001]
[224,null,"2020-04-30","3145077","NP71L.1-1-3",17678.197,null,10500.028,null,7178.1639999999998]
[225,null,"2020-04-30","3152823","NP71L.1-1-3",2436.6480000000001,null,1442.3,null,994.31600000000003]
[226,null,"2020-04-30","3175210","NP71L.1-1-3",2438.1010000000001,null,1493.9839999999999,null,944.05600000000004]
[227,null,"2020-04-30","3172756","NP71L.1-1-3",16.593,null,12.229000000000001,null,4.3639999999999999]
[228,null,"2020-04-30","3144963","NP71L.1-1-3",1254.934,null,972.81799999999998,null,282.06200000000001]
[229,null,"2020-04-30","3152765","NP71L.1-1-3",1030.4929999999999,null,726.39099999999996,null,304.10200000000003]
[230,null,"2020-04-30","3174239","NP71L.1-1-3",3121.83,null,2203.1460000000002,null,918.68399999999997]
[231,null,"2020-04-30","3178205","NP71L.1-1-3",75.058000000000007,null,43.036999999999999,null,32.021000000000001]
[232,null,"2020-04-30","3165326","NP71L.1-1-3",87.024000000000001,null,72.578000000000003,null,14.391999999999999]
[233,null,"2020-04-30","3145063","NP71L.1-1-3",7906.3050000000003,null,5998.4639999999999,null,1907.83]
[234,null,"2020-04-30","3141202","NP71L.1-1-3",29.939,null,29.603000000000002,null,0.28400000000000003]
[235,null,"2020-04-30","4307274","NP73E.3-14-1-(7.2 FSK)",5220.8410000000003,null,3622.848,null,1597.9929999999999]
[236,null,"2020-04-30","4165773","NP71E.1-10-1-(7.2 FSK)",15.861000000000001,null,14.551,null,1.31]
[237,null,"2020-04-30","3174319","NP71L.1-1-3",851.62599999999998,null,571.61900000000003,null,279.94600000000003]
[238,null,"2020-04-30","3141226","NP71L.1-1-3",3.758,null,3.7130000000000001,null,0]
[239,null,"2020-04-30","3153396","NP71L.1-1-3",0.98899999999999999,null,0.98899999999999999,null,0]
[240,null,"2020-04-30","3144562","NP71L.1-1-3",25.641999999999999,null,25.169,null,0.41699999999999998]
[241,null,"2020-04-30","3141621","NP71L.1-1-3",12.306000000000001,null,12.26,null,0]
[242,null,"2020-04-30","3179620","NP71L.1-1-3",0.99299999999999999,null,0.99299999999999999,null,0]
[243,null,"2020-04-30","3178925","NP71L.1-1-3",1084.239,null,820.27300000000002,null,263.85700000000003]
[244,null,"2020-04-30","3180512","NP71L.1-1-3",34.886000000000003,null,30.533000000000001,null,4.3529999999999998]
[245,null,"2020-04-30","3165095","NP71L.1-1-3",0.996,null,0.97699999999999998,null,0]
[246,null,"2020-04-30","3152495","NP71L.1-1-3",0.97,null,0.97,null,0]
[247,null,"2020-04-30","3143153","NP71L.1-1-3",1321.521,null,1128.491,null,193.029]
[248,null,"2020-04-30","3196764","NP71L.1-1-3",1425.6610000000001,null,1074.02,null,351.64100000000002]
[249,null,"2020-04-30","4170923","NP71E.1-10-1-(7.2 FSK)",1.5620000000000001,null,1.5620000000000001,null,0]
[250,null,"2020-04-30","4174355","NP71E.1-10-1-(7.2 FSK)",1745.6469999999999,null,1198.643,null,547.00400000000002]
[251,null,"2020-04-30","3992693","NP71E.1-10-1-(7.2 FSK)",9.2789999999999999,null,9.2780000000000005,null,1E-3]
[252,null,"2020-04-30","3992035","NP71E.1-10-1-(7.2 FSK)",145.14099999999999,null,91.215000000000003,null,53.926000000000002]
[253,null,"2020-04-30","3992759","NP71E.1-10-1-(7.2 FSK)",91.191000000000003,null,69.748999999999995,null,21.442]
[254,null,"2020-04-30","3992685","NP71E.1-10-1-(7.2 FSK)",3077.4540000000002,null,2418.7449999999999,null,658.70900000000006]
[255,null,"2020-04-30","3117742","NP71L.1-1-3",4489.4740000000002,null,3721.098,null,768.27700000000004]
[256,null,"2020-04-30","3174282","NP71L.1-1-3",7001.1940000000004,null,4665.259,null,2335.8870000000002]
[257,null,"2020-04-30","3157367","NP71L.1-1-3",1.046,null,0.996,null,0]
[258,null,"2020-04-30","3176177","NP71L.1-1-3",2521.241,null,2055.2370000000001,null,466.00400000000002]
[259,null,"2020-04-30","3180520","NP71L.1-1-3",19068.105,null,12510.443000000001,null,6557.6490000000003]
[260,null,"2020-04-30","3143512","NP71L.1-1-3",14931.638000000001,null,10005.379000000001,null,3398.1640000000002]
[261,null,"2020-04-30","3317734","NP71L.1-1-3",761.48,null,585.779,null,175.70099999999999]
[262,null,"2020-04-30","3182853","NP71L.1-1-3",13.141,null,12.873000000000001,null,0.216]
[263,null,"2020-04-30","3110616","NP71L.1-1-3",8389.7340000000004,null,6089.0730000000003,null,2300.6610000000001]
[264,null,"2020-04-30","3176419","NP71L.1-1-3",339.26100000000002,null,286.25900000000001,null,53.002000000000002]
[265,null,"2020-04-30","3318671","NP71L.1-1-3",1.1240000000000001,null,1.1240000000000001,null,0]
[266,null,"2020-04-30","3181829","NP71L.1-1-3",2.7480000000000002,null,2.6870000000000003,null,0]
[267,null,"2020-04-30","3991308","NP71E.1-10-1-(7.2 FSK)",5428.5140000000001,null,3942.8580000000002,null,1485.6559999999999]
[null,null,null,null,null,null,null,null,null,"Count=267"]