{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Лист1","Лист2"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Лист1","index":0,"n_rows":291,"n_cols":9,"rows_kept":291,"cut":false,"hidden":false,"merged":[]}
["№ участка","Всего КВт ","Всего день КВт","Всего ночь КВт","За месяц день КВт","За месяц ночь КВт","За месяц день РУБ","За месяц ночь РУБ","За месяц РУБ"]
["5",3.758,3.7130000000000001,0,0,0,0,0,0]
[6,16651.411,10595.911,6055.5,237,96,1092.57,168.96,1261.53]
["7",2202.308,1738.713,463.54500000000002,0,0,0,0,0]
["8/9",330.21199999999999,255.572,74.64,2,0,9.2200000000000006,0,9.2200000000000006]
["11",5062.7380000000003,3943.3420000000001,1119.396,165,10,760.65,17.600000000000001,778.25]
[13,3413.922,2299.3339999999998,1114.527,8,5,36.880000000000003,8.8000000000000007,45.68]
["17",1909.9080000000001,1581.2429999999999,328.66500000000002,0,0,0,0,0]
[18,14.639000000000001,12.499000000000001,2.14,0,0,0,0,0]
["19",13335.249,8823.9470000000001,4511.2420000000002,180,79,829.8,139.04,968.84]
["20/22",111804.898,76702.573000000004,35102.325000000004,1644,638,7578.84,1122.8800000000001,8701.7199999999993]
["23",2.6430000000000002,2.597,4.5999999999999999E-2,0,0,0,0,0]
["24/26",119.646,91.546000000000006,28.1,0,0,0,0,0]
["27",2142.0239999999999,1433.829,708.19500000000005,0,0,0,0,0]
["30/31",3902.8160000000003,2850.9120000000003,1051.904,498,280,2295.7800000000002,492.8,2788.58]
[32,4669.2650000000003,3142.1930000000002,1527.0720000000001,118,47,543.98,82.72,626.70000000000005]
[33,11422.508,7702.0349999999999,3720.473,6,0,27.66,0,27.66]
["35",2560.0070000000001,1767.5040000000001,792.50300000000004,131,75,603.91,132,735.91]
[36,504.64500000000004,360.56100000000004,144.02500000000001,0,0,0,0,0]
[37,2057.4569999999999,1238.739,818.65100000000007,66,30,304.26,52.8,357.06]
["38",1552.1130000000001,1251.33,300.78300000000002,90,41,414.9,72.16,487.06]
["40",11701.727000000001,7735.4719999999998,3966.2080000000001,4,2,18.440000000000001,3.52,21.96]
["42",3216.35,2278.8620000000001,937.43899999999996,38,7,175.18,12.32,187.5]
["43",3.3620000000000001,3.3620000000000001,0,0,0,0,0,0]
["46",797.53,624.79499999999996,172.68,0,0,0,0,0]
["48",0.98899999999999999,0.98899999999999999,0,0,0,0,0,0]
["49",293.18,254.45099999999999,38.728999999999999,0,0,0,0,0]
["51",2648.0460000000003,1794.749,853.29700000000003,20,12,92.2,21.12,113.32]
[53]
[54,1990.1559999999999,1368.4470000000001,621.66100000000006,3,8,13.83,14.08,27.91]
[55]
[56,1065.595,867.10500000000002,198.49,1,0,4.6100000000000003,0,4.6100000000000003]
["58",587.69299999999998,455.60200000000003,132.09100000000001,2,0,9.2200000000000006,0,9.2200000000000006]
["59"]
[60,759.30100000000004,583.08199999999999,176.161,0,0,0,0,0]
["64",0.99299999999999999,0.99299999999999999,0,0,0,0,0,0]
[65,1538.3430000000001,1189.57,348.66399999999999,24,4,110.64,7.04,117.68]
["66",1.5620000000000001,1.5620000000000001,0,0,0,0,0,0]
["67|68",17.056999999999999,15.747,1.31,0,0,0,0,0]
["70",503.762,410.33199999999999,93.43,8,0,36.880000000000003,0,36.880000000000003]
[73]
["74",41.899000000000001,33.122,8.777000000000001,0,0,0,0,0]
["75",1.091,1.091,0,0,0,0,0,0]
["76",7897.7129999999997,5959.5860000000002,1938.076,464,134,2139.04,235.84,2374.88]
["79",546.42500000000007,377.67500000000001,168.69800000000001,0,0,0,0,0]
["80/81",158.08500000000001,106.20100000000001,51.884,0,0,0,0,0]
["83/84",10054.75,6816.1660000000002,3238.55,1044,553,4812.84,973.28,5786.12]
["85/86",2802.9949999999999,2224.7269999999999,578.26800000000003,0,0,0,0,0]
["88",888.43100000000004,639.01300000000003,249.381,21,10,96.81,17.600000000000001,114.41]
["91",1033.9380000000001,667.76200000000006,366.13800000000003,0,0,0,0,0]
["92",28396.646000000001,19498.447,8898.1239999999998,672,338,3097.92,594.88,3692.8]
[95,9998.764000000001,8291.505000000001,1707.2550000000001,22,3,101.42,5.28,106.7]
[96,1807.21,1345.2429999999999,461.96699999999998,1,0,4.6100000000000003,0,4.6100000000000003]
["97/98",1222.704,802.69100000000003,419.952,0,0,0,0,0]
["99"]
[100,2446.134,1451.423,994.67899999999997,0,0,0,0,0]
["101",8702.4179999999997,6117.0209999999997,2585.335,1073,608,4946.53,1070.08,6016.61]
["102"]
["103",17.331,17.285,0,0,0,0,0,0]
["104",1596.913,1250.5450000000001,346.31400000000002,0,0,0,0,0]
["105",0.97,0.97,0,0,0,0,0,0]
["106",9.4819999999999993,9.4310000000000009,5.1000000000000004E-2,0,0,0,0,0]
["107",1142.5930000000001,707.83299999999997,434.76,0,0,0,0,0]
[108,38616.839,26153.862000000001,12462.925999999999,1573,684,7251.53,1203.8399999999999,8455.3700000000008]
["109",16.655000000000001,13.082000000000001,3.573,0,0,0,0,0]
["111",694.68700000000001,549.90700000000004,144.78,0,0,0,0,0]
["112",480.42200000000003,395.51400000000001,84.908000000000001,43,10,198.23,17.600000000000001,215.83]
["113",6187.1769999999997,4069.4079999999999,2117.6559999999999,299,154,1378.39,271.04000000000002,1649.43]
["114/129",48809.499000000003,35041.084000000003,13768.334000000001,724,298,3337.64,524.48,3862.12]
["115/126/127",17529.850999999999,6172.3150000000005,11357.536,432,1380,1991.52,2428.8000000000002,4420.32]
["116",1.133,1.0900000000000001,0,0,0,0,0,0]
["118/119",627.01400000000001,484.73900000000003,142.27500000000001,14,0,64.540000000000006,0,64.540000000000006]
[120,7631.0460000000003,5052.7929999999997,2578.2020000000002,113,20,520.92999999999995,35.200000000000003,556.13]
["121",2120.779,1804.3210000000001,316.45800000000003,1,0,4.6100000000000003,0,4.6100000000000003]
["122",966.06100000000004,758.62300000000005,207.43800000000002,1,0,4.6100000000000003,0,4.6100000000000003]
["123",9.2230000000000008,9.2230000000000008,0,0,0,0,0,0]
[124,187.84,166.51300000000001,21.276,0,0,0,0,0]
["125",130.22,81.522000000000006,48.698,26,17,119.86,29.92,149.78]
[130,37387.484000000004,24873.107,12514.376,1359,705,6264.99,1240.8,7505.79]
["131",4184.3419999999996,2630.3020000000001,1553.9829999999999,0,0,0,0,0]
["132",3728.8209999999999,2771.8029999999999,956.97,130,106,599.29999999999995,186.56,785.86]
[133,659.92399999999998,541.46400000000006,118.46000000000001,6,1,27.66,1.76,29.42]
["134"]
["135"]
[136,2795.9839999999999,2099.6590000000001,696.26,45,27,207.45,47.52,254.97]
["137",1.117,0.998,7.9000000000000001E-2,0,0,0,0,0]
["138",10014.016,7672.4009999999998,2341.6040000000003,97,47,447.17,82.72,529.89]
[139,4297.9440000000004,3044.2020000000002,1253.742,40,35,184.4,61.6,246]
["140/141",4959.95,3445.4169999999999,1514.5309999999999,93,58,428.73,102.08,530.80999999999995]
["142"]
["143",5401.4809999999998,4308.7150000000001,1092.7660000000001,243,66,1120.23,116.16,1236.3900000000001]
[146,1052.5140000000001,741.79,310.72399999999999,0,0,0,0,0]
["150/151",4951.4570000000003,3764.8510000000001,1186.549,143,61,659.23,107.36,766.59]
["152/153",84874.528999999995,56209.32,28665.208999999999,1616,787,7449.76,1385.12,8834.8799999999992]
[154,6321.7439999999997,2817.3240000000001,3504.42,0,0,0,0,0]
[159,1800.789,1549.636,251.15200000000002,8,0,36.880000000000003,0,36.880000000000003]
["160",77.153999999999996,45.133000000000003,32.021000000000001,0,0,0,0,0]
["161"]
["164",35.984999999999999,35.645000000000003,0.28800000000000003,0,0,0,0,0]
["165",3367.2000000000003,2065.5639999999999,1301.575,0,0,0,0,0]
[168,115.042,97.597000000000008,17.391000000000002,8,0,36.880000000000003,0,36.880000000000003]
["169",411.63200000000001,299.19600000000003,112.43600000000001,11,0,50.71,0,50.71]
["170",12458.022000000001,7334.7390000000005,5123.2830000000004,448,408,2065.2800000000002,718.08,2783.36]
[172]
["175"]
["176",5710.8919999999998,2722.078,2988.7550000000001,0,0,0,0,0]
["178",1231.941,829.52300000000002,402.37099999999998,69,55,318.08999999999997,96.8,414.89]
[182,5066.6540000000005,4297.0950000000003,769.50200000000007,185,11,852.85,19.36,872.21]
["183",4109.0280000000002,3321.2860000000001,787.69299999999998,79,29,364.19,51.04,415.23]
["187",1178.8589999999999,945.673,233.12100000000001,10,0,46.1,0,46.1]
["188/190",60155.197,44121.811999999998,16033.385,788,291,3632.68,512.16,4144.84]
["191",35838.981,22585.960999999999,13253.02,851,425,3923.11,748,4671.1099999999997]
["192"]
["193",107.172,71.501999999999995,35.625999999999998,10,2,46.1,3.52,49.62]
["194",4285.3900000000003,3089.6669999999999,1195.723,673,279,3102.53,491.04,3593.57]
["194-5",1337.3700000000001,845.40200000000004,491.96800000000002,51,37,235.11,65.12,300.23]
["196",3369.232,2253.5459999999998,1115.6859999999999,462,233,2129.8200000000002,410.08,2539.9]
["199/200",2663.8380000000002,1786.8510000000001,876.98699999999997,2,0,9.2200000000000006,0,9.2200000000000006]
["201",698.88,332.96600000000001,365.851,76,106,350.36,186.56,536.91999999999996]
["203",1106.173,624.08299999999997,482.09000000000003,0,0,0,0,0]
["204",2292.2759999999998,1725.8869999999999,566.32000000000005,15,0,69.150000000000006,0,69.150000000000006]
["205",10.14,5.9619999999999997,4.1319999999999997,0,0,0,0,0]
["206",1.0409999999999999,0.98699999999999999,2E-3,0,0,0,0,0]
["208",513.64499999999998,326.56700000000001,187.077,0,0,0,0,0]
["209",2379.6660000000002,1350.2149999999999,1029.4480000000001,0,0,0,0,0]
["210",2432.3780000000002,1683.4750000000001,748.85400000000004,4,2,18.440000000000001,3.52,21.96]
["211",4013.8960000000002,3191.4290000000001,822.46500000000003,217,67,1000.37,117.92,1118.29]
[212,4937.3950000000004,3459.587,1477.759,36,0,165.96,0,165.96]
[213,7517.9130000000005,5136.8730000000005,2380.991,47,44,216.67,77.44,294.11]
["216/217",32440.751,16934.144,15506.607,142,261,654.62,459.36,1113.98]
[219,730.43299999999999,423.37200000000001,307.00200000000001,0,0,0,0,0]
["220",4671.5129999999999,3332.4389999999999,1339.0240000000001,340,124,1567.4,218.24,1785.64]
["221",4639.6390000000001,3317.7919999999999,1321.71,91,43,419.51,75.680000000000007,495.19]
[222,6369.8010000000004,4736.0420000000004,1633.73,104,57,479.44,100.32,579.76]
[223,1175.4770000000001,823.12800000000004,352.34899999999999,1,0,4.6100000000000003,0,4.6100000000000003]
["225",5454.58,3832.0529999999999,1622.471,179,96,825.19,168.96,994.15]
["227",818.303,557.70000000000005,260.55700000000002,3,2,13.83,3.52,17.350000000000001]
[233,65131.5,42554.267,22577.188000000002,2104,1265,9699.44,2226.4,11925.84]
[234,32618.825000000001,21392.530999999999,11226.286,698,343,3217.78,603.67999999999995,3821.46]
["235",2067.23,1464.107,603.11900000000003,2,0,9.2200000000000006,0,9.2200000000000006]
[236,1888.271,807.46100000000001,1080.7439999999999,43,126,198.23,221.76,419.99]
["239",759.84900000000005,534.04700000000003,225.75700000000001,0,0,0,0,0]
["240",891.67200000000003,480.47899999999998,411.14699999999999,0,0,0,0,0]
["241",930.25300000000004,670.77499999999998,259.47800000000001,41,27,189.01,47.52,236.53]
["242",2952.4349999999999,2056.8000000000002,895.58500000000004,668,359,3079.48,631.84,3711.32]
["243",1348.933,1022.924,326.00799999999998,15,4,69.150000000000006,7.04,76.19]
[244,2147.9470000000001,1489.9880000000001,657.89400000000001,0,0,0,0,0]
[245,7911.17,5336.277,2574.8450000000003,5,0,23.05,0,23.05]
[246,507.60500000000002,401.27500000000003,106.265,0,0,0,0,0]
[247,4111.7529999999997,2869.6080000000002,1242.145,48,34,221.28,59.84,281.12]
["248",939.77300000000002,634.26300000000003,305.51,632,306,2913.52,538.55999999999995,3452.08]
["250",13878.241,9213.625,4664.616,906,474,4176.66,834.24,5010.8999999999996]
["252",1500.904,1105.1990000000001,395.66899999999998,303,98,1396.83,172.48,1569.31]
["253",7512.9580000000005,5501.625,2011.278,146,94,673.06,165.44,838.5]
["254",13614.044,9267.9500000000007,4346.09,415,193,1913.15,339.68,2252.83]
["256",2880.7190000000001,1992.8030000000001,887.91499999999996,75,36,345.75,63.36,409.11]
[257,1360.5450000000001,959.68399999999997,400.86099999999999,3,0,13.83,0,13.83]
["260",3473.1080000000002,1953.124,1519.9839999999999,141,116,650.01,204.16,854.17]
["261",3173.817,2039.9880000000001,1133.829,73,54,336.53,95.04,431.57]
[264,2604.7559999999999,1458.579,1146.115,42,7,193.62,12.32,205.94]
[265,1065.098,851.36400000000003,213.73400000000001,24,0,110.64,0,110.64]
["266",441.54300000000001,376.166,65.325000000000003,7,0,32.270000000000003,0,32.270000000000003]
["269",4006.5309999999999,2764.7330000000002,1241.7470000000001,57,30,262.77,52.8,315.57]
["270",1689.068,1437.8810000000001,251.14099999999999,3,0,13.83,0,13.83]
["271"]
["272",1144.925,787.69100000000003,357.23399999999998,509,213,2346.4899999999998,374.88,2721.37]
["274",5630.5839999999998,3818.4250000000002,1812.0730000000001,45,14,207.45,24.64,232.09]
["275/450",1410.2560000000001,1004.74,405.51600000000002,3,1,13.83,1.76,15.59]
["277",930.53499999999997,627.57000000000005,302.95999999999998,0,0,0,0,0]
["278",2214.1460000000002,1454.729,759.41700000000003,11,0,50.71,0,50.71]
["279",707.75599999999997,558.58100000000002,149.17500000000001,0,0,0,0,0]
["282",1.5820000000000001,1.5820000000000001,0,0,0,0,0,0]
["283",9.8460000000000001,9,0.79900000000000004,0,0,0,0,0]
["284",11815.555,7771.6289999999999,4043.9259999999999,778,376,3586.58,661.76,4248.34]
["285",70839.305999999997,47936.603000000003,22902.645,219,111,1009.59,195.36,1204.95]
["286"]
["287",5799.6549999999997,4408.26,1391.3389999999999,40,11,184.4,19.36,203.76]
["289",4058.3130000000001,3067.6759999999999,990.63700000000006,55,19,253.55,33.44,286.99]
["290",25447.388999999999,17098.387999999999,8349.0010000000002,148,77,682.28,135.52000000000001,817.8]
["291",3108.3630000000003,1954.8050000000001,1153.4970000000001,0,0,0,0,0]
["292",2076.9720000000002,1255.569,821.34199999999998,0,0,0,0,0]
["293",4166.4310000000005,2958.029,1208.3890000000001,46,19,212.06,33.44,245.5]
["295",61.115000000000002,55.006,6.109,0,0,0,0,0]
["296",3171.4769999999999,2491.8519999999999,679.57799999999997,70,8,322.7,14.08,336.78]
["297"]
["298",1.046,0.996,0,0,0,0,0,0]
["299",1558.981,1114.8620000000001,444.11900000000003,252,117,1161.72,205.92,1367.64]
["301",1.0469999999999999,1.0469999999999999,0,0,0,0,0,0]
["302",3.5089999999999999,3.4689999999999999,0.04,0,0,0,0,0]
["304",2.7480000000000002,2.6870000000000003,0,0,0,0,0,0]
["306/307",4560.62,3502.3050000000003,1058.3150000000001,0,0,0,0,0]
["308",1.6850000000000001,1.6850000000000001,0,0,0,0,0,0]
["309",17454.065999999999,11938.043,3987.9279999999999,287,88,1323.07,154.88,1477.95]
["310",13686.597,10659.467000000001,3027.0830000000001,61,34,281.20999999999998,59.84,341.05]
["315/316",9817.0640000000003,7641.0119999999997,2176.0459999999998,539,137,2484.79,241.12,2725.91]
["317",678.79499999999996,479.435,199.36,0,0,0,0,0]
["318",267.56299999999999,171.54900000000001,96.013999999999996,56,26,258.16000000000003,45.76,303.92]
["319",1079.124,583.74300000000005,495.32300000000004,19,18,87.59,31.68,119.27]
["320"]
["321",11541.976000000001,8451.523000000001,3090.444,172,48,792.92,84.48,877.4]
["322",1.1280000000000001,0.99099999999999999,8.8999999999999996E-2,0,0,0,0,0]
["323",5538.826,4634.1610000000001,904.66499999999996,120,22,553.20000000000005,38.72,591.91999999999996]
["325",355.77800000000002,293.42,62.295000000000002,0,0,0,0,0]
["326",2089.7269999999999,1600.644,489.02199999999999,12,3,55.32,5.28,60.6]
["327",722.88599999999997,526.49800000000005,196.345,0,0,0,0,0]
["328",585.99300000000005,457.28899999999999,128.648,0,0,0,0,0]
["329",4103.0839999999998,2849.2350000000001,1253.8489999999999,137,371,631.57000000000005,652.96,1284.53]
["330",1.1240000000000001,1.1240000000000001,0,0,0,0,0,0]
["333/334",595.101,496.91399999999999,98.186999999999998,1,0,4.6100000000000003,0,4.6100000000000003]
["335/336",3.0009999999999999,2.9460000000000002,3.0000000000000001E-3,0,0,0,0,0]
["338",3753.4569999999999,3330.944,422.51300000000003,392,23,1807.12,40.479999999999997,1847.6]
["339",1875.809,1447.473,428.30500000000001,60,8,276.60000000000002,14.08,290.68]
["340",4224.6099999999997,3394.1680000000001,830.44100000000003,113,13,520.92999999999995,22.88,543.80999999999995]
["341",7.7860000000000005,7.6290000000000004,0.113,0,0,0,0,0]
["342",4474.9650000000001,2525.8090000000002,1949.1559999999999,123,144,567.03,253.44,820.47]
["343/344",12361.495000000001,10249.473,2111.9430000000002,91,16,419.51,28.16,447.67]
["346/347",15845.611000000001,11938.616,3906.9430000000002,109,32,502.49,56.32,558.80999999999995]
["348",6264.9769999999999,4844.0370000000003,1420.89,1,0,4.6100000000000003,0,4.6100000000000003]
["349",2491.9520000000002,1915.268,576.63599999999997,4,0,18.440000000000001,0,18.440000000000001]
["350",123.343,120.459,2.8839999999999999,100,3,461,5.28,466.28]
["354",3.9510000000000001,3.5720000000000001,0.33600000000000002,0,0,0,0,0]
["357",452.017,277.08699999999999,174.93,4,6,18.440000000000001,10.56,29]
["360",377.95499999999998,276.87200000000001,101.083,0,0,0,0,0]
["361",1405.22,942.95600000000002,462.26100000000002,0,0,0,0,0]
["362",123.60600000000001,101.473,22.081,0,0,0,0,0]
["364",105.226,81.353000000000009,23.82,0,0,0,0,0]
["365"]
["367",1.07,0.999,7.1000000000000008E-2,0,0,0,0,0]
["368/369",4840.4369999999999,4032.44,807.99700000000007,52,21,239.72,36.96,276.68]
["370",5467.1320000000005,4555.9759999999997,911.05700000000002,0,0,0,0,0]
["371",10129.584000000001,7453.7089999999998,2675.875,217,58,1000.37,102.08,1102.45]
["372",6451.4359999999997,4214.5780000000004,2236.8580000000002,0,0,0,0,0]
["373",619.73300000000006,478.42500000000001,141.30799999999999,0,0,0,0,0]
["374",205.18899999999999,159.41300000000001,45.721000000000004,0,0,0,0,0]
["376",401.82100000000003,306.72000000000003,95.100999999999999,0,0,0,0,0]
["377"]
["378",32.552999999999997,28.398,4.1050000000000004,0,0,0,0,0]
["379",1055.655,675.524,380.07,0,0,0,0,0]
["380",319.78700000000003,195.63800000000001,124.08800000000001,0,0,0,0,0]
["381"]
["382"]
["383",17903.788,11776.062,6127.7260000000006,1007,533,4642.2700000000004,938.08,5580.35]
["384",46721.016000000003,31218.174999999999,15502.523999999999,1182,610,5449.02,1073.5999999999999,6522.62]
["385",44.316000000000003,35.628999999999998,8.6869999999999994,0,0,0,0,0]
["386",13.763,13.266,0.44500000000000001,0,0,0,0,0]
["387"]
["388",6880.1270000000004,5045.1720000000005,1834.9470000000001,19,14,87.59,24.64,112.23]
["389",2489.0010000000002,1727.81,761.14,10,9,46.1,15.84,61.94]
["390",2476.8670000000002,1768.3489999999999,708.51800000000003,381,162,1756.41,285.12,2041.53]
["392",197.19300000000001,196.12200000000001,1.071,3,0,13.83,0,13.83]
["394"]
["395",3778.1179999999999,3119.3110000000001,658.80700000000002,3,0,13.83,0,13.83]
["396",1597.615,1121.3050000000001,476.31,0,0,0,0,0]
["397"]
["398",50.673999999999999,43.843000000000004,6.76,0,0,0,0,0]
["399",4439.8950000000004,3467.4250000000002,972.40899999999999,0,0,0,0,0]
["400а",3.109,2.8730000000000002,0.17400000000000002,0,0,0,0,0]
["401",7.9550000000000001,7.6959999999999997,0.17200000000000001,2,0,9.2200000000000006,0,9.2200000000000006]
["406",1060.479,808.41700000000003,252.06200000000001,18,13,82.98,22.88,105.86]
["407"]
["408",10100.071,7516.7719999999999,2583.299,542,232,2498.62,408.32,2906.94]
["409",2356.6970000000001,2053.913,302.78399999999999,44,13,202.84,22.88,225.72]
["410",1822.037,1118.0319999999999,704.005,87,20,401.07,35.200000000000003,436.27]
["411",859.66,662.827,196.77100000000002,0,0,0,0,0]
["413",5322.7640000000001,3551.837,1770.9270000000001,81,49,373.41,86.24,459.65]
["412"]
["416",360.678,300.887,59.743000000000002,0,0,0,0,0]
["417",15181.752,9671.969000000001,5509.7430000000004,143,52,659.23,91.52,750.75]
["418/419"]
["420",11948.233,8281.9349999999995,3666.25,343,188,1581.23,330.88,1912.11]
["421",1.2989999999999999,1.1080000000000001,0,0,0,0,0,0]
["422",2.7,2.645,0,0,0,0,0,0]
["423"]
["424",3042.5250000000001,1976.8310000000001,1065.694,10,2,46.1,3.52,49.62]
["427/428",15565.589,11313.501,4252.0410000000002,181,86,834.41,151.36000000000001,985.77]
["430",12490.635,8665.6820000000007,3824.9180000000001,0,0,0,0,0]
["431",14116.214,10346.019,3770.1190000000001,0,0,0,0,0]
["432"]
["434",33404.592000000004,22452.846000000001,10951.746000000001,329,153,1516.69,269.27999999999997,1785.97]
["435",2563.6550000000002,1788.846,774.80899999999997,5,3,23.05,5.28,28.33]
["437/439",3340.0990000000002,2498.038,842.06100000000004,104,32,479.44,56.32,535.76]
["440"]
["441/442",2070.7890000000002,1680.713,390.029,0,0,0,0,0]
["443",3762.509,2657.482,1105.027,65,24,299.64999999999998,42.24,341.89]
["444",720.18700000000001,513.55899999999997,206.62800000000001,3,0,13.83,0,13.83]
["445"]
["446",14668.58,11409.874,3258.7060000000001,246,95,1134.06,167.2,1301.26]
["447",1535.7750000000001,1284.807,250.92500000000001,0,0,0,0,0]
["448",3050.4659999999999,2154.4059999999999,895.98500000000001,2,0,9.2200000000000006,0,9.2200000000000006]
["449"]
["451",9.3390000000000004,9.277000000000001,6.2E-2,0,0,0,0,0]

{"sheet":"Лист2","index":1,"n_rows":270,"n_cols":10,"rows_kept":270,"cut":false,"hidden":false,"merged":[[0,0,0,10]]}
["Display Data"]
["#","Адрес","Дата и время","Серийный №","Тип устройства","Активная энергия, импорт",null,"Активная энергия, импорт, тариф1",null,"Активная энергия, импорт, тариф2"]
[1,null,"2020-11-01","3164330","NP71L.1-1-3",513.64499999999998,null,326.56700000000001,null,187.077]
[2,null,"2020-11-07","3318300","NP71L.1-1-3",1348.933,null,1022.924,null,326.00799999999998]
[3,null,"2020-11-19","3183473","NP71L.1-1-3",7.7860000000000005,null,7.6290000000000004,null,0.113]
[4,null,"2020-11-21","3318409","NP71L.1-1-3",2379.6660000000002,null,1350.2149999999999,null,1029.4480000000001]
[5,null,"2020-11-21","3180357","NP71L.1-1-3",4111.7529999999997,null,2869.6080000000002,null,1242.145]
[6,null,"2020-11-21","3160617","NP71L.1-1-3",4937.3950000000004,null,3459.587,null,1477.759]
[7,null,"2020-11-23","3179054","NP71L.1-1-3",13878.241,null,9213.625,null,4664.616]
[8,null,"2020-11-26","3165718","NP71L.1-1-3",2663.8380000000002,null,1786.8510000000001,null,876.98699999999997]
[9,null,"2020-11-29","3143047","NP71L.1-1-3",7517.9130000000005,null,5136.8730000000005,null,2380.991]
[10,null,"2020-11-30","3160817","NP71L.1-1-3",1.0409999999999999,null,0.98699999999999999,null,2E-3]
[11,null,"2020-11-30","3145369","NP71L.1-1-3",585.99300000000005,null,457.28899999999999,null,128.648]
[12,null,"2020-12-01","3177472","NP71L.1-1-3",17529.850999999999,null,6172.3150000000005,null,11357.536]
[13,null,"2020-12-01","3164412","NP71L.1-1-3",3473.1080000000002,null,1953.124,null,1519.9839999999999]
[14,null,"2020-12-01","3178370","NP71L.1-1-3",3778.1179999999999,null,3119.3110000000001,null,658.80700000000002]
[15,null,"2020-12-01T23:00:00","11404360","NP73L.1-8-1-(7.2 FSK)",60155.197,null,44121.811999999998,null,16033.385]
[16,null,"2020-12-01T23:00:00","11404006","NP73L.1-8-1-(7.2 FSK)",111804.898,null,76702.573000000004,null,35102.325000000004]
[17,null,"2020-12-01T23:00:00","11402593","NP73L.1-8-1-(7.2 FSK)",6321.7439999999997,null,2817.3240000000001,null,3504.42]
[18,null,"2020-12-02","4154665","NP71E.1-10-1-(7.2 FSK)",35838.981,null,22585.960999999999,null,13253.02]
[19,null,"2020-12-02","4156823","NP71E.1-10-1-(7.2 FSK)",25447.388999999999,null,17098.387999999999,null,8349.0010000000002]
[20,null,"2020-12-02","3182533","NP71L.1-1-3",5799.6549999999997,null,4408.26,null,1391.3389999999999]
[21,null,"2020-12-02","3144573","NP71L.1-1-3",2120.779,null,1804.3210000000001,null,316.45800000000003]
[22,null,"2020-12-02","3174251","NP71L.1-1-3",70839.305999999997,null,47936.603000000003,null,22902.645]
[23,null,"2020-12-02","3155922","NP71L.1-1-3",1535.7750000000001,null,1284.807,null,250.92500000000001]
[24,null,"2020-12-02","3152112","NP71L.1-1-3",1065.098,null,851.36400000000003,null,213.73400000000001]
[25,null,"2020-12-02","3144343","NP71L.1-1-3",5630.5839999999998,null,3818.4250000000002,null,1812.0730000000001]
[26,null,"2020-12-02","3151894","NP71L.1-1-3",3369.232,null,2253.5459999999998,null,1115.6859999999999]
[27,null,"2020-12-02","4164474","NP71E.1-10-1-(7.2 FSK)",2214.1460000000002,null,1454.729,null,759.41700000000003]
[28,null,"2020-12-02","4307101","NP73E.3-14-1-(7.2 FSK)",9275.7870000000003,null,6414.8440000000001,null,2860.9430000000002]
[29,null,"2020-12-02","3151886","NP71L.1-1-3",3728.8209999999999,null,2771.8029999999999,null,956.97]
[30,null,"2020-12-02","3157598","NP71L.1-1-3",123.60600000000001,null,101.473,null,22.081]
[31,null,"2020-12-02","3152324","NP71L.1-1-3",7631.0460000000003,null,5052.7929999999997,null,2578.2020000000002]
[32,null,"2020-12-02","3157211","NP71L.1-1-3",13614.044,null,9267.9500000000007,null,4346.09]
[33,null,"2020-12-02","3191350","NP71L.1-1-3",4184.3419999999996,null,2630.3020000000001,null,1553.9829999999999]
[34,null,"2020-12-02","3143945","NP71L.1-1-3",1689.068,null,1437.8810000000001,null,251.14099999999999]
[35,null,"2020-12-02","3191199","NP71L.1-1-3",4006.5309999999999,null,2764.7330000000002,null,1241.7470000000001]
[36,null,"2020-12-02","3174876","NP71L.1-1-3",627.01400000000001,null,484.73900000000003,null,142.27500000000001]
[37,null,"2020-12-02","3153181","NP71L.1-1-3",441.54300000000001,null,376.166,null,65.325000000000003]
[38,null,"2020-12-02","3179761","NP71L.1-1-3",4013.8960000000002,null,3191.4290000000001,null,822.46500000000003]
[39,null,"2020-12-02","3145937","NP71L.1-1-3",966.06100000000004,null,758.62300000000005,null,207.43800000000002]
[40,null,"2020-12-02","3142352","NP71L.1-1-3",4058.3130000000001,null,3067.6759999999999,null,990.63700000000006]
[41,null,"2020-12-02","3311033","NP71L.1-1-3",707.75599999999997,null,558.58100000000002,null,149.17500000000001]
[42,null,"2020-12-02","3175375","NP71L.1-1-3",2604.7559999999999,null,1458.579,null,1146.115]
[43,null,"2020-12-02","3159106","NP71L.1-1-3",1410.2560000000001,null,1004.74,null,405.51600000000002]
[44,null,"2020-12-02","3301837","NP71L.1-1-3",4285.3900000000003,null,3089.6669999999999,null,1195.723]
[45,null,"2020-12-02","3155438","NP71L.1-1-3",1405.22,null,942.95600000000002,null,462.26100000000002]
[46,null,"2020-12-02","3159267","NP71L.1-1-3",1500.904,null,1105.1990000000001,null,395.66899999999998]
[47,null,"2020-12-02","3140927","NP71L.1-1-3",7512.9580000000005,null,5501.625,null,2011.278]
[48,null,"2020-12-02","3144525","NP71L.1-1-3",1178.8589999999999,null,945.673,null,233.12100000000001]
[49,null,"2020-12-02","3159104","NP71L.1-1-3",3108.3630000000003,null,1954.8050000000001,null,1153.4970000000001]
[50,null,"2020-12-02","3145724","NP71L.1-1-3",507.60500000000002,null,401.27500000000003,null,106.265]
[51,null,"2020-12-02","3145695","NP71L.1-1-3",5710.8919999999998,null,2722.078,null,2988.7550000000001]
[52,null,"2020-12-02","3316546","NP71L.1-1-3",930.53499999999997,null,627.57000000000005,null,302.95999999999998]
[53,null,"2020-12-02","3143943","NP71L.1-1-3",6264.9769999999999,null,4844.0370000000003,null,1420.89]
[54,null,"2020-12-02","3151974","NP71L.1-1-3",12361.495000000001,null,10249.473,null,2111.9430000000002]
[55,null,"2020-12-02","3142157","NP71L.1-1-3",2795.9839999999999,null,2099.6590000000001,null,696.26]
[56,null,"2020-12-02","3177443","NP71L.1-1-3",187.84,null,166.51300000000001,null,21.276]
[57,null,"2020-12-02","3180072","NP71L.1-1-3",3171.4769999999999,null,2491.8519999999999,null,679.57799999999997]
[58,null,"2020-12-02","3145891","NP71L.1-1-3",48809.499000000003,null,35041.084000000003,null,13768.334000000001]
[59,null,"2020-12-02","3144565","NP71L.1-1-3",4109.0280000000002,null,3321.2860000000001,null,787.69299999999998]
[60,null,"2020-12-02","3154758","NP71L.1-1-3",37387.484000000004,null,24873.107,null,12514.376]
[61,null,"2020-12-02","3191977","NP71L.1-1-3",360.678,null,300.887,null,59.743000000000002]
[62,null,"2020-12-02","3151832","NP71L.1-1-3",4166.4310000000005,null,2958.029,null,1208.3890000000001]
[63,null,"2020-12-02","3143455","NP71L.1-1-3",2491.9520000000002,null,1915.268,null,576.63599999999997]
[64,null,"2020-12-02","3144819","NP71L.1-1-3",2076.9720000000002,null,1255.569,null,821.34199999999998]
[65,null,"2020-12-02","3316944","NP71L.1-1-3",377.95499999999998,null,276.87200000000001,null,101.083]
[66,null,"2020-12-02","3174741","NP71L.1-1-3",33404.592000000004,null,22452.846000000001,null,10951.746000000001]
[67,null,"2020-12-02","3141132","NP71L.1-1-3",10054.75,null,6816.1660000000002,null,3238.55]
[68,null,"2020-12-02","3162306","NP71L.1-1-3",10.14,null,5.9619999999999997,null,4.1319999999999997]
[69,null,"2020-12-02","3143295","NP71L.1-1-3",3.0009999999999999,null,2.9460000000000002,null,3.0000000000000001E-3]
[70,null,"2020-12-02","3310226","NP71L.1-1-3",452.017,null,277.08699999999999,null,174.93]
[71,null,"2020-12-02","3152934","NP71L.1-1-3",2089.7269999999999,null,1600.644,null,489.02199999999999]
[72,null,"2020-12-02","3173643","NP71L.1-1-3",1055.655,null,675.524,null,380.07]
[73,null,"2020-12-02","3164133","NP71L.1-1-3",3.7509999999999999,null,3.024,null,0.67200000000000004]
[74,null,"2020-12-02","3175215","NP71L.1-1-3",1.1599999999999999,null,1.1520000000000001,null,8.0000000000000002E-3]
[75,null,"2020-12-02","3151899","NP71L.1-1-3",1231.941,null,829.52300000000002,null,402.37099999999998]
[76,null,"2020-12-02","3165264","NP71L.1-1-3",2432.3780000000002,null,1683.4750000000001,null,748.85400000000004]
[77,null,"2020-12-02","3182996","NP71L.1-1-3",1.117,null,0.998,null,7.9000000000000001E-2]
[78,null,"2020-12-02","3164771","NP71L.1-1-3",0.96199999999999997,null,0.96199999999999997,null,0]
[79,null,"2020-12-02","3196792","NP71L.1-1-3",698.88,null,332.96600000000001,null,365.851]
[80,null,"2020-12-02","3316698","NP71L.1-1-3",1106.173,null,624.08299999999997,null,482.09000000000003]
[81,null,"2020-12-02","3174648","NP71L.1-1-3",3.9510000000000001,null,3.5720000000000001,null,0.33600000000000002]
[82,null,"2020-12-02","3145116","NP71L.1-1-3",9.8460000000000001,null,9,null,0.79900000000000004]
[83,null,"2020-12-02","3318396","NP71L.1-1-3",61.115000000000002,null,55.006,null,6.109]
[84,null,"2020-12-02","3136562","NP71L.1-1-3",2.7,null,2.645,null,0]
[85,null,"2020-12-02","3317201","NP71L.1-1-3",6880.1270000000004,null,5045.1720000000005,null,1834.9470000000001]
[86,null,"2020-12-02","3143414","NP71L.1-1-3",355.77800000000002,null,293.42,null,62.295000000000002]
[87,null,"2020-12-02","3320424","NP71L.1-1-3",1.0569999999999999,null,1.0130000000000001,null,4.3999999999999997E-2]
[88,null,"2020-12-02","3175680","NP71L.1-1-3",720.18700000000001,null,513.55899999999997,null,206.62800000000001]
[89,null,"2020-12-02","3164192","NP71L.1-1-3",107.172,null,71.501999999999995,null,35.625999999999998]
[90,null,"2020-12-02","3191148","NP71L.1-1-3",15181.752,null,9671.969000000001,null,5509.7430000000004]
[91,null,"2020-12-02","3316723","NP71L.1-1-3",267.56299999999999,null,171.54900000000001,null,96.013999999999996]
[92,null,"2020-12-02","3152932","NP71L.1-1-3",401.82100000000003,null,306.72000000000003,null,95.100999999999999]
[93,null,"2020-12-02","3152526","NP71L.1-1-3",11948.233,null,8281.9349999999995,null,3666.25]
[94,null,"2020-12-02","3183133","NP71L.1-1-3",1597.615,null,1121.3050000000001,null,476.31]
[95,null,"2020-12-02","4168573","NP71E.1-10-1-(7.2 FSK)",9.2230000000000008,null,9.2230000000000008,null,0]
[96,null,"2020-12-02","4167978","NP71E.1-10-1-(7.2 FSK)",1.5820000000000001,null,1.5820000000000001,null,0]
[97,null,"2020-12-02","4172388","NP71E.1-10-1-(7.2 FSK)",17903.788,null,11776.062,null,6127.7260000000006]
[98,null,"2020-12-02","4170763","NP71E.1-10-1-(7.2 FSK)",11815.555,null,7771.6289999999999,null,4043.9259999999999]
[99,null,"2020-12-02","4170644","NP71E.1-10-1-(7.2 FSK)",12458.022000000001,null,7334.7390000000005,null,5123.2830000000004]
[100,null,"2020-12-02","4169925","NP71E.1-10-1-(7.2 FSK)",130.22,null,81.522000000000006,null,48.698]
[101,null,"2020-12-02","3953772","NP71E.1-10-1-(7.2 FSK)",5538.826,null,4634.1610000000001,null,904.66499999999996]
[102,null,"2020-12-02","3141182","NP71L.1-1-3",5066.6540000000005,null,4297.0950000000003,null,769.50200000000007]
[103,null,"2020-12-02","3153138","NP71L.1-1-3",3.109,null,2.8730000000000002,null,0.17400000000000002]
[104,null,"2020-12-02","3191591","NP71L.1-1-3",12490.635,null,8665.6820000000007,null,3824.9180000000001]
[105,null,"2020-12-02","3174702","NP71L.1-1-3",105.226,null,81.353000000000009,null,23.82]
[106,null,"2020-12-02","3192519","NP71L.1-1-3",205.18899999999999,null,159.41300000000001,null,45.721000000000004]
[107,null,"2020-12-02","3318663","NP71L.1-1-3",197.19300000000001,null,196.12200000000001,null,1.071]
[108,null,"2020-12-02","3143646","NP71L.1-1-3",3042.5250000000001,null,1976.8310000000001,null,1065.694]
[109,null,"2020-12-02","4167599","NP71E.1-10-1-(7.2 FSK)",6451.4359999999997,null,4214.5780000000004,null,2236.8580000000002]
[110,null,"2020-12-02","4167801","NP71E.1-10-1-(7.2 FSK)",1360.5450000000001,null,959.68399999999997,null,400.86099999999999]
[111,null,"2020-12-02","3152172","NP71L.1-1-3",4224.6099999999997,null,3394.1680000000001,null,830.44100000000003]
[112,null,"2020-12-02","4167586","NP71E.1-10-1-(7.2 FSK)",1142.5930000000001,null,707.83299999999997,null,434.76]
[113,null,"2020-12-02","3173929","NP71L.1-1-3",1.133,null,1.0900000000000001,null,0]
[114,null,"2020-12-02","4306940","NP73E.3-14-1-(7.2 FSK)",17594.728999999999,null,11838.34,null,5756.3890000000001]
[115,null,"2020-12-02","3151810","NP71L.1-1-3",1875.809,null,1447.473,null,428.30500000000001]
[116,null,"2020-12-02","3142728","NP71L.1-1-3",1033.9380000000001,null,667.76200000000006,null,366.13800000000003]
[117,null,"2020-12-02","3142907","NP71L.1-1-3",2057.4569999999999,null,1238.739,null,818.65100000000007]
[118,null,"2020-12-02","3198698","NP71L.1-1-3",9.3390000000000004,null,9.277000000000001,null,6.2E-2]
[119,null,"2020-12-02","3072953","NP71L.1-1-3",1079.124,null,583.74300000000005,null,495.32300000000004]
[120,null,"2020-12-02","3172814","NP71L.1-1-3",2070.7890000000002,null,1680.713,null,390.029]
[121,null,"2020-12-02","3174227","NP71L.1-1-3",1.2989999999999999,null,1.1080000000000001,null,0]
[122,null,"2020-12-02","3173801","NP71L.1-1-3",2292.2759999999998,null,1725.8869999999999,null,566.32000000000005]
[123,null,"2020-12-02","3987438","NP71E.1-10-1-(7.2 FSK)",930.25300000000004,null,670.77499999999998,null,259.47800000000001]
[124,null,"2020-12-02","3987071","NP71E.1-10-1-(7.2 FSK)",41.899000000000001,null,33.122,null,8.777000000000001]
[125,null,"2020-12-02","3316691","NP71L.1-1-3",14116.214,null,10346.019,null,3770.1190000000001]
[126,null,"2020-12-02","3986846","NP71E.1-10-1-(7.2 FSK)",1337.3700000000001,null,845.40200000000004,null,491.96800000000002]
[127,null,"2020-12-02","4306570","NP73E.3-14-1-(7.2 FSK)",7308.7039999999997,null,5285.9580000000005,null,2022.7460000000001]
[128,null,"2020-12-02","3991057","NP71E.1-10-1-(7.2 FSK)",659.92399999999998,null,541.46400000000006,null,118.46000000000001]
[129,null,"2020-12-02","3992009","NP71E.1-10-1-(7.2 FSK)",4474.9650000000001,null,2525.8090000000002,null,1949.1559999999999]
[130,null,"2020-12-02","3992168","NP71E.1-10-1-(7.2 FSK)",2880.7190000000001,null,1992.8030000000001,null,887.91499999999996]
[131,null,"2020-12-02","3991313","NP71E.1-10-1-(7.2 FSK)",3173.817,null,2039.9880000000001,null,1133.829]
[132,null,"2020-12-02","4190674","NP71E.1-10-1-(7.2 FSK)",1144.925,null,787.69100000000003,null,357.23399999999998]
[133,null,"2020-12-02","3958064","NP71E.1-10-1-(7.2 FSK)",2560.0070000000001,null,1767.5040000000001,null,792.50300000000004]
[134,null,"2020-12-02","3958712","NP71E.1-10-1-(7.2 FSK)",84874.528999999995,null,56209.32,null,28665.208999999999]
[135,null,"2020-12-02","3954057","NP71E.1-10-1-(7.2 FSK)",14.639000000000001,null,12.499000000000001,null,2.14]
[136,null,"2020-12-02","3152336","NP71L.1-1-3",888.43100000000004,null,639.01300000000003,null,249.381]
[137,null,"2020-12-02","3142691","NP71L.1-1-3",2142.0239999999999,null,1433.829,null,708.19500000000005]
[138,null,"2020-12-02","3142671","NP71L.1-1-3",546.42500000000007,null,377.67500000000001,null,168.69800000000001]
[139,null,"2020-12-02","3320394","NP71L.1-1-3",11422.508,null,7702.0349999999999,null,3720.473]
[140,null,"2020-12-02","3141415","NP71L.1-1-3",504.64500000000004,null,360.56100000000004,null,144.02500000000001]
[141,null,"2020-12-02","3144266","NP71L.1-1-3",6369.8010000000004,null,4736.0420000000004,null,1633.73]
[142,null,"2020-12-02","3152408","NP71L.1-1-3",3413.922,null,2299.3339999999998,null,1114.527]
[143,null,"2020-12-02","3164634","NP71L.1-1-3",13335.249,null,8823.9470000000001,null,4511.2420000000002]
[144,null,"2020-12-02","3145359","NP71L.1-1-3",2802.9949999999999,null,2224.7269999999999,null,578.26800000000003]
[145,null,"2020-12-02","3143331","NP71L.1-1-3",5454.58,null,3832.0529999999999,null,1622.471]
[146,null,"2020-12-02","3160330","NP71L.1-1-3",65131.5,null,42554.267,null,22577.188000000002]
[147,null,"2020-12-02","3143105","NP71L.1-1-3",7897.7129999999997,null,5959.5860000000002,null,1938.076]
[148,null,"2020-12-02","3183604","NP71L.1-1-3",28396.646000000001,null,19498.447,null,8898.1239999999998]
[149,null,"2020-12-02","3151931","NP71L.1-1-3",3216.35,null,2278.8620000000001,null,937.43899999999996]
[150,null,"2020-12-02","3107348","NP71L.1-1-3",4951.4570000000003,null,3764.8510000000001,null,1186.549]
[151,null,"2020-12-02","3144086","NP71L.1-1-3",32440.751,null,16934.144,null,15506.607]
[152,null,"2020-12-02","3174746","NP71L.1-1-3",1888.271,null,807.46100000000001,null,1080.7439999999999]
[153,null,"2020-12-02","3151938","NP71L.1-1-3",759.84900000000005,null,534.04700000000003,null,225.75700000000001]
[154,null,"2020-12-02","3314651","NP71L.1-1-3",2067.23,null,1464.107,null,603.11900000000003]
[155,null,"2020-12-02","3177570","NP71L.1-1-3",32618.825000000001,null,21392.530999999999,null,11226.286]
[156,null,"2020-12-02","3152006","NP71L.1-1-3",11701.727000000001,null,7735.4719999999998,null,3966.2080000000001]
[157,null,"2020-12-02","3153052","NP71L.1-1-3",4671.5129999999999,null,3332.4389999999999,null,1339.0240000000001]
[158,null,"2020-12-02","3173855","NP71L.1-1-3",818.303,null,557.70000000000005,null,260.55700000000002]
[159,null,"2020-12-02","3192845","NP71L.1-1-3",319.78700000000003,null,195.63800000000001,null,124.08800000000001]
[160,null,"2020-12-02","3142225","NP71L.1-1-3",730.43299999999999,null,423.37200000000001,null,307.00200000000001]
[161,null,"2020-12-02","3143920","NP71L.1-1-3",1175.4770000000001,null,823.12800000000004,null,352.34899999999999]
[162,null,"2020-12-02","3179621","NP71L.1-1-3",158.08500000000001,null,106.20100000000001,null,51.884]
[163,null,"2020-12-02","3968242","NP71E.1-10-1-(7.2 FSK)",1909.9080000000001,null,1581.2429999999999,null,328.66500000000002]
[164,null,"2020-12-02","3145711","NP71L.1-1-3",2.6430000000000002,null,2.597,null,4.5999999999999999E-2]
[165,null,"2020-12-02","3179095","NP71L.1-1-3",3.3620000000000001,null,3.3620000000000001,null,0]
[166,null,"2020-12-02","3182257","NP71L.1-1-3",1.091,null,1.091,null,0]
[167,null,"2020-12-02","3141714","NP71L.1-1-3",797.53,null,624.79499999999996,null,172.68]
[168,null,"2020-12-02","3178284","NP71L.1-1-3",2952.4349999999999,null,2056.8000000000002,null,895.58500000000004]
[169,null,"2020-12-02","3183309","NP71L.1-1-3",1.1280000000000001,null,0.99099999999999999,null,8.8999999999999996E-2]
[170,null,"2020-12-02","3318320","NP71L.1-1-3",3902.8160000000003,null,2850.9120000000003,null,1051.904]
[171,null,"2020-12-02","3175033","NP71L.1-1-3",678.79499999999996,null,479.435,null,199.36]
[172,null,"2020-12-02","3174149","NP71L.1-1-3",1.0469999999999999,null,1.0469999999999999,null,0]
[173,null,"2020-12-02","3145120","NP71L.1-1-3",619.73300000000006,null,478.42500000000001,null,141.30799999999999]
[174,null,"2020-12-02","4168068","NP71E.1-10-1-(7.2 FSK)",4669.2650000000003,null,3142.1930000000002,null,1527.0720000000001]
[175,null,"2020-12-02","3172909","NP71L.1-1-3",15565.589,null,11313.501,null,4252.0410000000002]
[176,null,"2020-12-02","3145909","NP71L.1-1-3",722.88599999999997,null,526.49800000000005,null,196.345]
[177,null,"2020-12-02","3152643","NP71L.1-1-3",2489.0010000000002,null,1727.81,null,761.14]
[178,null,"2020-12-02","3145190","NP71L.1-1-3",5062.7380000000003,null,3943.3420000000001,null,1119.396]
[179,null,"2020-12-02","3950938","NP71E.1-10-1-(7.2 FSK)",1.6850000000000001,null,1.6850000000000001,null,0]
[180,null,"2020-12-02","3183270","NP71L.1-1-3",1558.981,null,1114.8620000000001,null,444.11900000000003]
[181,null,"2020-12-02","3181421","NP71L.1-1-3",44.316000000000003,null,35.628999999999998,null,8.6869999999999994]
[182,null,"2020-12-02","3176769","NP71L.1-1-3",50.673999999999999,null,43.843000000000004,null,6.76]
[183,null,"2020-12-02","3142234","NP71L.1-1-3",9998.764000000001,null,8291.505000000001,null,1707.2550000000001]
[184,null,"2020-12-02","4165758","NP71E.1-10-1-(7.2 FSK)",4560.62,null,3502.3050000000003,null,1058.3150000000001]
[185,null,"2020-12-02","3179506","NP71L.1-1-3",859.66,null,662.827,null,196.77100000000002]
[186,null,"2020-12-02","3174244","NP71L.1-1-3",13686.597,null,10659.467000000001,null,3027.0830000000001]
[187,null,"2020-12-02","3170937","NP71L.1-1-3",2356.6970000000001,null,2053.913,null,302.78399999999999]
[188,null,"2020-12-02","3174254","NP71L.1-1-3",4639.6390000000001,null,3317.7919999999999,null,1321.71]
[189,null,"2020-12-02","3142388","NP71L.1-1-3",4840.4369999999999,null,4032.44,null,807.99700000000007]
[190,null,"2020-12-02","3161484","NP71L.1-1-3",4439.8950000000004,null,3467.4250000000002,null,972.40899999999999]
[191,null,"2020-12-02","4171386","NP71E.1-10-1-(7.2 FSK)",3340.0990000000002,null,2498.038,null,842.06100000000004]
[192,null,"2020-12-02","4283879","NP73E.1-11-1-(7.2 FSK)",119.646,null,91.546000000000006,null,28.1]
[193,null,"2020-12-02","3174194","NP71L.1-1-3",2563.6550000000002,null,1788.846,null,774.80899999999997]
[194,null,"2020-12-02","3145512","NP71L.1-1-3",46721.016000000003,null,31218.174999999999,null,15502.523999999999]
[195,null,"2020-12-02","3952386","NP71E.1-10-1-(7.2 FSK)",3753.4569999999999,null,3330.944,null,422.51300000000003]
[196,null,"2020-12-02","3157946","NP71L.1-1-3",1822.037,null,1118.0319999999999,null,704.005]
[197,null,"2020-12-02","3182333","NP71L.1-1-3",9817.0640000000003,null,7641.0119999999997,null,2176.0459999999998]
[198,null,"2020-12-02","3174250","NP71L.1-1-3",7.9550000000000001,null,7.6959999999999997,null,0.17200000000000001]
[199,null,"2020-12-02","3191453","NP71L.1-1-3",32.552999999999997,null,28.398,null,4.1050000000000004]
[200,null,"2020-12-02","3191981","NP71L.1-1-3",3.5089999999999999,null,3.4689999999999999,null,0.04]
[201,null,"2020-12-02","3174528","NP71L.1-1-3",2147.9470000000001,null,1489.9880000000001,null,657.89400000000001]
[202,null,"2020-12-02","3182344","NP71L.1-1-3",1.07,null,0.999,null,7.1000000000000008E-2]
[203,null,"2020-12-02","3173935","NP71L.1-1-3",14668.58,null,11409.874,null,3258.7060000000001]
[204,null,"2020-12-02","3951729","NP71E.1-10-1-(7.2 FSK)",2476.8670000000002,null,1768.3489999999999,null,708.51800000000003]
[205,null,"2020-12-02","4167625","NP71E.1-10-1-(7.2 FSK)",3762.509,null,2657.482,null,1105.027]
[206,null,"2020-12-02","3181833","NP71L.1-1-3",10129.584000000001,null,7453.7089999999998,null,2675.875]
[207,null,"2020-12-02","4182168","NP71E.1-10-1-(7.2 FSK)",5322.7640000000001,null,3551.837,null,1770.9270000000001]
[208,null,"2020-12-02","3992046","NP71E.1-10-1-(7.2 FSK)",1552.1130000000001,null,1251.33,null,300.78300000000002]
[209,null,"2020-12-02","3142857","NP71L.1-1-3",759.30100000000004,null,583.08199999999999,null,176.161]
[210,null,"2020-12-02","3132896","NP71L.1-1-3",587.69299999999998,null,455.60200000000003,null,132.09100000000001]
[211,null,"2020-12-02","3141296","NP71L.1-1-3",1990.1559999999999,null,1368.4470000000001,null,621.66100000000006]
[212,null,"2020-12-02","3178800","NP71L.1-1-3",3050.4659999999999,null,2154.4059999999999,null,895.98500000000001]
[213,null,"2020-12-02","4164371","NP71E.1-10-1-(7.2 FSK)",4297.9440000000004,null,3044.2020000000002,null,1253.742]
[214,null,"2020-12-02","3181134","NP71L.1-1-3",6187.1769999999997,null,4069.4079999999999,null,2117.6559999999999]
[215,null,"2020-12-02","3310628","NP71L.1-1-3",293.18,null,254.45099999999999,null,38.728999999999999]
[216,null,"2020-12-02","3144641","NP71L.1-1-3",503.762,null,410.33199999999999,null,93.43]
[217,null,"2020-12-02","3144564","NP71L.1-1-3",330.21199999999999,null,255.572,null,74.64]
[218,null,"2020-12-02","3144566","NP71L.1-1-3",16651.411,null,10595.911,null,6055.5]
[219,null,"2020-12-02","3174748","NP71L.1-1-3",694.68700000000001,null,549.90700000000004,null,144.78]
[220,null,"2020-12-02","3145694","NP71L.1-1-3",2202.308,null,1738.713,null,463.54500000000002]
[221,null,"2020-12-02","3182509","NP71L.1-1-3",38616.839,null,26153.862000000001,null,12462.925999999999]
[222,null,"2020-12-02","3145065","NP71L.1-1-3",8702.4179999999997,null,6117.0209999999997,null,2585.335]
[223,null,"2020-12-02","3152823","NP71L.1-1-3",2446.134,null,1451.423,null,994.67899999999997]
[224,null,"2020-12-02","3175210","NP71L.1-1-3",3367.2000000000003,null,2065.5639999999999,null,1301.575]
[225,null,"2020-12-02","3144963","NP71L.1-1-3",1596.913,null,1250.5450000000001,null,346.31400000000002]
[226,null,"2020-12-02","3152765","NP71L.1-1-3",1052.5140000000001,null,741.79,null,310.72399999999999]
[227,null,"2020-12-02","3174239","NP71L.1-1-3",4959.95,null,3445.4169999999999,null,1514.5309999999999]
[228,null,"2020-12-02","3178205","NP71L.1-1-3",77.153999999999996,null,45.133000000000003,null,32.021000000000001]
[229,null,"2020-12-02","3164301","NP71L.1-1-3",891.67200000000003,null,480.47899999999998,null,411.14699999999999]
[230,null,"2020-12-02","3165326","NP71L.1-1-3",115.042,null,97.597000000000008,null,17.391000000000002]
[231,null,"2020-12-02","3145063","NP71L.1-1-3",10014.016,null,7672.4009999999998,null,2341.6040000000003]
[232,null,"2020-12-02","3141202","NP71L.1-1-3",35.984999999999999,null,35.645000000000003,null,0.28800000000000003]
[233,null,"2020-12-02","3165549","NP71L.1-1-3",15845.611000000001,null,11938.616,null,3906.9430000000002]
[234,null,"2020-12-02","4307274","NP73E.3-14-1-(7.2 FSK)",6583.9480000000003,null,4582.2870000000003,null,2001.6610000000001]
[235,null,"2020-12-02","4165773","NP71E.1-10-1-(7.2 FSK)",17.056999999999999,null,15.747,null,1.31]
[236,null,"2020-12-02","3174319","NP71L.1-1-3",1222.704,null,802.69100000000003,null,419.952]
[237,null,"2020-12-02","3141226","NP71L.1-1-3",3.758,null,3.7130000000000001,null,0]
[238,null,"2020-12-02","3153396","NP71L.1-1-3",0.98899999999999999,null,0.98899999999999999,null,0]
[239,null,"2020-12-02","3141621","NP71L.1-1-3",17.331,null,17.285,null,0]
[240,null,"2020-12-02","3179620","NP71L.1-1-3",0.99299999999999999,null,0.99299999999999999,null,0]
[241,null,"2020-12-02","3178925","NP71L.1-1-3",1538.3430000000001,null,1189.57,null,348.66399999999999]
[242,null,"2020-12-02","3180512","NP71L.1-1-3",480.42200000000003,null,395.51400000000001,null,84.908000000000001]
[243,null,"2020-12-02","3152495","NP71L.1-1-3",0.97,null,0.97,null,0]
[244,null,"2020-12-02","3143153","NP71L.1-1-3",1800.789,null,1549.636,null,251.15200000000002]
[245,null,"2020-12-02","3196764","NP71L.1-1-3",1807.21,null,1345.2429999999999,null,461.96699999999998]
[246,null,"2020-12-02","4170923","NP71E.1-10-1-(7.2 FSK)",1.5620000000000001,null,1.5620000000000001,null,0]
[247,null,"2020-12-02","4174355","NP71E.1-10-1-(7.2 FSK)",2648.0460000000003,null,1794.749,null,853.29700000000003]
[248,null,"2020-12-02","3992693","NP71E.1-10-1-(7.2 FSK)",9.4819999999999993,null,9.4310000000000009,null,5.1000000000000004E-2]
[249,null,"2020-12-02","3992035","NP71E.1-10-1-(7.2 FSK)",411.63200000000001,null,299.19600000000003,null,112.43600000000001]
[250,null,"2020-12-02","3992759","NP71E.1-10-1-(7.2 FSK)",1065.595,null,867.10500000000002,null,198.49]
[251,null,"2020-12-02","3992685","NP71E.1-10-1-(7.2 FSK)",5401.4809999999998,null,4308.7150000000001,null,1092.7660000000001]
[252,null,"2020-12-02","3117742","NP71L.1-1-3",5467.1320000000005,null,4555.9759999999997,null,911.05700000000002]
[253,null,"2020-12-02","3174282","NP71L.1-1-3",7911.17,null,5336.277,null,2574.8450000000003]
[254,null,"2020-12-02","3157367","NP71L.1-1-3",1.046,null,0.996,null,0]
[255,null,"2020-12-02","3176177","NP71L.1-1-3",4103.0839999999998,null,2849.2350000000001,null,1253.8489999999999]
[256,null,"2020-12-02","3143512","NP71L.1-1-3",17454.065999999999,null,11938.043,null,3987.9279999999999]
[257,null,"2020-12-02","3317734","NP71L.1-1-3",1060.479,null,808.41700000000003,null,252.06200000000001]
[258,null,"2020-12-02","3182853","NP71L.1-1-3",13.763,null,13.266,null,0.44500000000000001]
[259,null,"2020-12-02","3110616","NP71L.1-1-3",11541.976000000001,null,8451.523000000001,null,3090.444]
[260,null,"2020-12-02","3176419","NP71L.1-1-3",595.101,null,496.91399999999999,null,98.186999999999998]
[261,null,"2020-12-02","3318671","NP71L.1-1-3",1.1240000000000001,null,1.1240000000000001,null,0]
[262,null,"2020-12-02","3181829","NP71L.1-1-3",2.7480000000000002,null,2.6870000000000003,null,0]
[263,null,"2020-12-02","3991308","NP71E.1-10-1-(7.2 FSK)",10100.071,null,7516.7719999999999,null,2583.299]
[264,null,"2020-12-02","4197110","NP71E.1-10-1-(7.2 FSK)",16.655000000000001,null,13.082000000000001,null,3.573]
[265,null,"2020-12-02","10737677","NP71L.1-8-1-(7.2 FSK)",147.66200000000001,null,98.372,null,49.29]
[266,null,"2020-12-02","10739340","NP71L.1-8-1-(7.2 FSK)",123.343,null,120.459,null,2.8839999999999999]
[267,null,"2020-12-02","10737950","NP71L.1-8-1-(7.2 FSK)",939.77300000000002,null,634.26300000000003,null,305.51]
[null,null,null,null,null,null,null,null,null,"Count=267"]